## BASE BID
| ATTACHMENT "A" |  |  |  | 2026-08-04
MIDCITY OPEN SPACE IMPROVEMENTS
Project No. 71-17-SP46
UNIT BID SHEET
ITEM NO. | DESCRIPTION | BID QTY | BID UNIT | BID UNIT PRICE | BID AMOUNT
1 | MOBILIZATION | 1 | LS |  | 0
2 | UNCLASSIFIED EXCAVATION, COMPLETE IN-PLACE | 1 | LS |  | 0
3 | 12" N-12 (or equal) PIPE, COMPLETE, IN PLACE TO INCLUDE EXCAVATION AND BACKFILL. | 147 | LF |  | 0
4 | NYLOPLAST (or equal) DRAIN BASIN WITH GRATE, COMPLETE, IN PLACE, TO INCLUDE EXCAVATION AND BACKFILL. | 3 | EA |  | 0
5 | NYLOPLAST (or equal) IN-LINE DRAIN WITH GRATE, COMPLETE IN PLACE, TO INCLUDE EXCAVATION AND BACKFILL. | 1 | EA |  | 0
6 | TIE 12" PIPE TO EXISTING DRAINAGE STRUCTURE, COMPLETE. | 2 | EA |  | 0
7 | REBUILD EXISTING JUNCTION BOX INTO THROAT INLET, COMPLETE. | 1 | EA |  | 0
8 | ADJUST / REBUILD EXISTING DRAINAGE STRUCTURE TO NEW FINISH GRADE, COMPLETE. | 8 | EA |  | 0
9 | 4" SCHEDULE 40, IRRIGATION SLEEVES, COMPLETE, TO INCLUDE EXCAVATION AND BACKFILL. | 560 | LF |  | 0
10 | CU SOIL MIX, AERATION SLEEVES & SOIL VENT BASINS, COMPLETE, IN PLACE. | 1 | LS |  | 0
11 | 4" THICK X 4' WIDE COLORED CONCRETE POND COLLAR, COMPLETE, TO INCLUDE EXCAVATION & BACKFILL. | 677 | SY |  | 0
12 | 4" THICK, VARIED WIDTH CONCRETE SIDEWALKS IN OPEN SPACE AREA. TO INCLUDE THICKENED EDGE AT TOP OF RETAINING WALLS, COMPLETE. | 4725 | SY |  | 0
13 | 4" THICK, VARIED WIDTH COLORED CONCRETE SIDEWALK. CONCRETE SHALL BE A RIVER AGGREGATE MIX WITH THE COLOR TO BE SELECTED FROM THE SCOFIELD COLOR PALET, INCLUDES ALL AVAILABLE COLORS, AND INLCUDES SCOFIELD SEALANT (OR APPROVED EQUAL) (CONTRACTOR MAY BE REQUIRED TO PREPARE UP TO 3 MOCK UPS OF THE SELECTED CONCRETE, SAMPLE SHALL BE A 4 FOOT BY 4 FOOT SECTION OF CONCRETE) | 2205 | SY |  | 0
14 | 4" THICK, VARIED WIDTH CONCRETE SIDEWALKS. COMPLETE IN-PLACE. | 2540 | SY |  | 0
15 | DETECTABLE WARNING PAVERS FOR HANDICAP RAMPS, COMPLETE IN-PLACE, CONTRACTOR TO FIELD VERIFY GRADES AND SLOPES OF ALL RAMPS WITH ENGINEER PRIOR TO PLACEMENT | 800 | SF |  | 0
16 | 2" THICK, #78 LEVELING STONE BENEATH OPEN SPACE SIDEWALKS, COMPLETE, IN PLACE. | 533 | CY |  | 0
17 | 4"X4" INTEGRAL CONCRETE CURB AROUND PLANTING BEDS @ WEST SIDE OF STREET "A" | 2045 | LF |  | 0
18 | CAST-IN-PLACE CONCRETE BENCHES, COMPLETE, TO INCLUDE EXCAVATION AND BACKFILL. | 436 | LF |  | 0
19 | BENCH, COMPLETE, IN PLACE. | 14 | EA |  | 0
20 | BIKE RACK, COMPLETE, IN PLACE. | 22 | EA |  | 0
21 | LITTER RECEPTACLE, COMPLETE IN PLACE. | 12 | EA |  | 0
22 | VERTEX (OR EQUAL) POND SERATION SYSTEM, TO INCLUDE COMPRESSOR CABINET, CABINET FOOTING, POND BOTTOM TUBING, PVC SLEEVE, DIFFUSERS, COMPLETE, IN PLACE AS DETAILED AND SPECIFIED. | 1 | LS |  | 0
23 | IRRIGATION SYSTEM, TO INCLUDE HEADS, PIPE, VALVES, CONTROLLER, 2-WIRE & GROUNDING, FOR A COMPLETE SYSTEM, IN PLACE. | 1 | LS |  | 0
24 | TOPSOIL(OFF SITE), APPROVED, IN-PLACE, TO INCLUDE TESTING, HAULING, LIME & FERTILIZER. | 1 | LS |  | 0
25 | LANDSCAPING, TO INCLUDE SOD, TREES, SHRUBS, ORNAMENTAL GRASSES, PERENNIALS, EDGING, MULCH AND STAKING, COMPLETE, IN PLACE. | 1 | LS |  | 0
26 | SILT FENCE, COMPLETE IN-PLACE, INCLUDES REMOVAL AND DISPOSAL | 4000 | LF |  | 0
27 | INLET PROTECTION, PRE-CONSTRUCTION PHASE, WIRE REINFORCED SILT FENCE, WATTLES, OR GRAVEL BERM, COMPLETE IN-PLACE, INCLUDES MAINTENANCE AND DISPOSAL | 12 | EA |  | 0
28 | EROSION CONTROL BLANKETS | 5000 | SY |  | 0
29 | GEOTEXTILE SEPARATION FABRIC | 5000 | SY |  | 0
30 | GEOTEXTILE FILTER FABRIC | 2000 | SY |  | 0
31 | TEMPORARY COURSE AGGREGATE | 300 | TON |  | 0
32 | SEEDING AND MULCHING | 30 | ACRE |  | 0
33 | LIGHTING, COMPLETE IN-PLACE, CONTRACTOR REQUIRED TO INSTALL ALL CONDUIT (AND BLOW STRING (3 EACH),CONSTRUCT POLE BASES, PEDESTAL BOXES, SET THE POLES AND FIXTURES, PULL ALL WIRES, AND MAKE ALL THE CONNECTIONS. | 1 | LS |  | 0
34 | ELECTRICAL SYSTEM, CONTRACTOR TO PROVIDE AND INSTALL ALL REQUIRED CONDUIT, PROVIDE AND INSTALL REQUIRED CIRCUITS AND CONTROL PANELS, PROVIDE NECESSARY CONNECTIONS AND HOOK UPS FOR IRRIGATION CONTROLLER, AERATION CONTROLLER, POND LEVEL STRUCTURE CONTROLLER, CONTRACTOR SHALL MAKE ALL NECESSARY CONNECTIONS AND ENSURE ALL SYSTEMS ARE FUNCTIONING, COMPLETE IN-PLACE. COH WILL PROVIDE LIGHT POLES AND FIXTURES. | 1 | LS |  | 0
35 | TYPE III BARRICADES, WITH WARNING LIGHTS, TEMPORARY | 20 | EA |  | 0
36 | ENGINEERING CONTROLS | 1 | LS |  | 0
37 | TEMPORARY SEEDING AND MULCHING | 15 | AC |  | 0
38 | MOWING, SODDED AREAS TO BE KEPT BELOW 3 INCHES UNTIL PROJECT ACCEPTANCE | 12 | AC |  | 0
39 | WEED CONTROL, OF SODDED AREAS | 12 | AC |  | 0
35 |  |  |  |  | #REF!
| TOTAL BASE BID |  |  |  | 0
ALL ITEMS SHALL BE CONSIDERED IN-PLACE. PRICES SHALL INCLUDE ALL LABOR, EQUIPMENT,MATERIALS, AND REMOVALS AS REQUIRED FOR CONSTRUCTION OF THE REQUIRED WORK.
COMPANY__________________________ SIGNATURE_________________________ DATE______________________________

## LANDSCAPE COUNT (hidden)
| ATTACHMENT "A" |  |  |  | Today's Date
2017-08-30
MidCity Infrastructure - Phase 1A
71-17-SP21
UNIT BID SHEET
ITEM NO. | DESCRIPTION | BID QTY | BID UNIT | BID UNIT PRICE | BID AMOUNT
1 | WT- WILDFIRE TUPELO | 1 | EA |  | 0
2 | CS- COMMEMORATION SUGAR MAPLE | 7 | EA |  | 0
3 | BB- BRACKENS BEST DEODAR CEDAR | 2 | EA |  | 0
4 | WT- | 5 | EA |  | 0
5 | VI- | 13 | EA |  | 0
6 | DH- DURA-HEAT RIVER BIRCH | 6 | EA |  | 0
7 | MC- MUSKOGEE CRAPE MYRTLE | 13 | EA |  | 0
8 | GS- GREEN SHADOW SWEETBAY MAGNOLIA | 11 | EA |  | 0
9 | OG- OCTOBER GLORY RED MAPLE | 8 | EA |  | 0
10 | G2- | 2 | EA |  | 0
11 | FR- FOX RED PONDCYPRESS | 11 | EA |  | 0
12 | SN- SANGRIA NUTTALL OAK | 2 | EA |  | 0
13 | PF- PRODIGY FRINGETREE | 5 | EA |  | 0
14 | PE- PRINCETON ELM | 2 | EA |  | 0
15 | NC- NATCHEZ CRAPE MYRTLE | 3 | EA |  | 0
16 |  |  | EA |  | 0
17 |  |  | EA |  | 0
18 |  |  | EA |  | 0
19 |  |  | EA |  | 0
20 |  |  | EA |  | 0
21 |  |  | LF |  | 0
22 |  |  | LF |  | 0
23 |  |  | LF |  | 0
24 |  |  | LF |  | 0
25 |  |  | LF |  | 0
26 |  |  | LF |  | 0
27 |  |  | LS |  | 0
28 |  |  | LS |  | 0
29 |  |  | LF |  | 0
30 |  |  | EA |  | 0
31 |  |  | EA |  | 0
32 |  |  | SY |  | 0
33 |  |  | SY |  | 0
34 |  |  | SY |  | 0
35 |  |  | TON |  | 0
36 |  |  | TON |  | 0
37 |  |  | ACRE |  | 0
38 |  |  | ACRE |  | 0
39 |  |  | SY |  | 0
40 |  |  | EA |  | 0
41 |  |  | EA |  | 0
42 |  |  | EA |  | 0
43 |  |  | EA |  | 0
44 |  |  | EA |  | 0
45 |  |  | EA |  | 0
46 |  |  | EA |  | 0
47 |  |  | LF |  | 0
48 |  |  | LF |  | 0
49 |  |  | LF |  | 0
50 |  |  | LF |  | 0
51 |  |  | LF |  | 0
52 |  |  | LF |  | 0
53 |  |  | LF |  | 0
54 |  |  | LF |  | 0
55 |  |  | LF |  | 0
56 |  |  | LS |  | 0
57 |  |  | LS |  | 0
58 |  |  | LS |  | 0
59 |  |  | LS |  | 0
60 |  |  | LS |  | 0
61 |  |  | MI |  | 0
62 |  |  | SF |  | 0
63 |  |  | EA |  | 0
64 |  |  | EA |  | 0
65 |  |  | LF |  | 0
66 |  |  | LS |  | 0
67 |  |  | AC |  | 0
68 |  |  | AC |  | 0
69 |  |  | AC |  | 0
70 |  |  | EA |  | 0
71 |  |  | CY |  | 0
72 |  |  | LS |  | 0
35 |  |  |  |  | #REF!
| TOTAL BASE BID |  |  |  | 42977
ALL ITEMS SHALL BE CONSIDERED IN-PLACE. PRICES SHALL INCLUDE ALL LABOR, EQUIPMENT,MATERIALS, AND REMOVALS AS REQUIRED FOR CONSTRUCTION OF THE REQUIRED WORK.
COMPANY__________________________ SIGNATURE_________________________ DATE______________________________