## Sheet1
| ATTACHMENT "A" |  |  |  | 2022-12-02
City of Huntsville
Periodic Bid for Sanitary Sewer Projects-2023
Project No. 71-23-SS01
BASE BID
ITEM NO. | DESCRIPTION | UNIT | BID QTY | BID UNIT | TOTAL AMOUNT
MOBILIZATION
1 | Project Mobilization A (will be paid on projects that have a cost greater than $5,000.00) | EA | 1 | EA | 0
2 | Project Mobilization B (will be paid on projects that have a cost greater than $5,000.00, but less than $10,000.00) | EA | 10 | EA | 0
3 | Project Mobilization C (will be paid on projects that have a cost greater than $10,000.00, but less than $25,000.00) | EA | 20 | EA | 0
4 | Project Mobilization D (will be paid on projects that have a cost greater than $25,000.00 but less than $50,000.00) | EA | 30 | EA | 0
5 | Project Mobilization E (will be paid on projects that have a cost greater than $50,000 but less than $75,000) | EA | 2 | EA | 0
6 | Project Mobilization F(will be paid on projects that have a cost greater than $75,000 but less than $100,000) | EA | 8 | EA | 0
7 | Project Mobilization G (will be paid on projects that have a cost greater than $100,000 but less than $250,000) | EA | 4 | EA | 0
SANITARY SEWER FACILITIES
New sewer pipe installed in place with deductions for manholes and includes compensation for furnishing pipe and disposal of excess materials off-site, trenching (excluding rock excavation), Class I bedding material, laying, jointing, temporary trench shoring, sheeting and bracing, initial backfill of Class I material over top of pipe, and all other appurtenances. Testing of sewer line and necessary utility relocation shall also be included in the unit cost. WPC reserves the right to use City of Huntsville furnished materials when time is of the essence. The published rate at which WPC procures mainline and manhole materials will be deducted from the line item.
New Pre-cast Manhole Units, 48" inside diameter, to include up to 12" adjustable risers, testing, and all other appurtenances for a complete structure
8 | 48" inside diameter, 0' - 6' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 3 and Appendix B, C | 40 | EA | 0
9 | 48" inside diameter, 6' - 8' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 3 and Appendix B, C | 40 | EA | 0
10 | 48" inside diameter, 8' - 10' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 3 and Appendix B, C | 40 | EA | 0
11 | 48" inside diameter, 10' - 12' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 3 and Appendix B, C | 40 | EA | 0
12 | 48" inside diameter, 12' - 15' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 3 and Appendix B, C | 40 | EA | 0
13 | 48" inside diameter, 15' - 18' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 3 and Appendix B, C | 40 | EA | 0
14 | 48" inside diameter, 18' - 22' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 3 and Appendix B, C | 40 | EA | 0
Pre-cast Manhole Units, 60" inside diameter, price per foot, to include up to 12" adjustable risers, testing, and all other appurtenances for a complete structure
15 | 60" inside diameter, 0' - 6' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 3 and Appendix B, C | 10 | EA | 0
16 | 60" inside diameter, 6' - 8' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 3 and Appendix B, C | 10 | EA | 0
17 | 60" inside diameter, 8' - 10' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 3 and Appendix B, C | 10 | EA | 0
18 | 60" inside diameter, 10' - 12' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 3 and Appendix B, C | 10 | EA | 0
19 | 60" inside diameter, 12' - 15' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 3 and Appendix B, C | 10 | EA | 0
20 | 60" inside diameter, 15' - 18' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 3 and Appendix B, C | 10 | EA | 0
Pre-cast Manhole Units, 72" inside diameter, price per foot, to include up to 12" adjustable risers, testing, and all other appurtenances for a complete structure
21 | 72" inside diameter, 0' - 6' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 3 and Appendix B, C | 10 | EA | 0
22 | 72" inside diameter, 6' - 8' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 3 and Appendix B, C | 10 | EA | 0
23 | 72" inside diameter, 8' - 10' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 3 and Appendix B, C | 10 | EA | 0
24 | 72" inside diameter, 10' - 12' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 3 and Appendix B, C | 10 | EA | 0
25 | 72" inside diameter, 12' - 15' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 3 and Appendix B, C | 10 | EA | 0
4' Diameter Sanitary Sewer Manhole Drop Connection
26 | Drop Connection, 8" - 10" drop pipe diameter | City of Huntsville Design and Acceptance Manual for Sanitary Sewers Appendix B, C | 40 | LF of drop | 0
27 | Drop Connection, 12" drop pipe diameter | City of Huntsville Design and Acceptance Manual for Sanitary Sewers Appendix B, C | 20 | LF of drop | 0
28 | Air Relief Manhole, Air Relief Valve, and Vent Piping | City of Huntsville Design and Acceptance Manual for Sanitary Sewers Appendix B, C | 10 | EA | 0
29 | Shallow Creek Crossing - Concrete encasement with control joint | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 100 | LF | 0
SANITARY SEWER
New sewer pipe installed per linear foot in place with deductions for manholes and includes compensation for furnishing pipe and disposal of excess materials off-site, trenching (excluding rock excavation), Class I bedding material, laying, jointing, temporary trench shoring, sheeting and bracing, initial backfill of Class I material over top of pipe, and all other appurtenances. Testing of sewer line and necessary utility relocation shall also be included in the LF unit cost.
New SDR26 Polyvinyl Chloride Pipe
30 | 8" Pipe, 0' - 6' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 2000 | LF | 0
31 | 8" Pipe, 6' - 8' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 2800 | LF | 0
32 | 8" Pipe, 8' - 10' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 2800 | LF | 0
33 | 8" Pipe, 10' - 12' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 800 | LF | 0
34 | 8" Pipe, 12' - 15' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 800 | LF | 0
35 | 10" Pipe, 0' - 6' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 2000 | LF | 0
36 | 10" Pipe, 6' - 8' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 2800 | LF | 0
37 | 10" Pipe, 8' - 10' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 2800 | LF | 0
38 | 10" Pipe, 10' - 12' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 800 | LF | 0
39 | 10" Pipe, 12' - 15' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 800 | LF | 0
New Class 350 Ductile Iron Pipe
40 | 8" Pipe, 0' - 6' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 400 | LF | 0
41 | 8" Pipe, 6' - 8' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 800 | LF | 0
42 | 8" Pipe, 8' - 10' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 800 | LF | 0
43 | 8" Pipe, 10' - 12' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 800 | LF | 0
44 | 8" Pipe, 12' - 15' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 400 | LF | 0
45 | 8" Pipe, 15' - 18' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 400 | LF | 0
46 | 8" Pipe, 18' - 22' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 400 | LF | 0
47 | 10" Pipe, 0' - 6' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 400 | LF | 0
48 | 10" Pipe, 6' - 8' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 800 | LF | 0
49 | 10" Pipe, 8' - 10' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 800 | LF | 0
50 | 10" Pipe, 10' - 12' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 800 | LF | 0
51 | 10" Pipe, 12' - 15' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 400 | LF | 0
52 | 10" Pipe, 15' - 18' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 400 | LF | 0
53 | 10" Pipe, 18' - 22' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 400 | LF | 0
54 | 12" Pipe, 0' - 6' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 400 | LF | 0
55 | 12" Pipe, 6' - 8' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 800 | LF | 0
56 | 12" Pipe, 8' - 10' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 800 | LF | 0
57 | 12" Pipe, 10' - 12' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 800 | LF | 0
58 | 12" Pipe, 12' - 15' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 400 | LF | 0
59 | 12" Pipe, 15' - 18' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 400 | LF | 0
60 | 12" Pipe, 18' - 22' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 400 | LF | 0
61 | 16" Pipe, 0' - 6' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 400 | LF | 0
62 | 16" Pipe, 6' - 8' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 800 | LF | 0
63 | 16" Pipe, 8' - 10' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 800 | LF | 0
64 | 16" Pipe, 10' - 12' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 800 | LF | 0
65 | 16" Pipe, 12' - 15' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 400 | LF | 0
66 | 16" Pipe, 15' - 18' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 400 | LF | 0
67 | 16" Pipe, 18' - 22' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 400 | LF | 0
68 | 18" Pipe, 0' - 6' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 400 | LF | 0
69 | 18" Pipe, 6' - 8' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 800 | LF | 0
70 | 18" Pipe, 8' - 10' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 800 | LF | 0
71 | 18" Pipe, 10' - 12' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 800 | LF | 0
72 | 18" Pipe, 12' - 15' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 400 | LF | 0
73 | 18" Pipe, 15' - 18' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 400 | LF | 0
74 | 18" Pipe, 18' - 22' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 400 | LF | 0
75 | 24" Pipe, 0' - 6' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 400 | LF | 0
76 | 24" Pipe, 6' - 8' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 800 | LF | 0
77 | 24" Pipe, 8' - 10' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 800 | LF | 0
78 | 24" Pipe, 10' - 12' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 800 | LF | 0
79 | 24" Pipe, 12' - 15' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 400 | LF | 0
80 | 24" Pipe, 15' - 18' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 400 | LF | 0
81 | 24" Pipe, 18' - 22' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 400 | LF | 0
82 | 36" Pipe, 0' - 6' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 400 | LF | 0
83 | 36" Pipe, 6' - 8' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 800 | LF | 0
84 | 36" Pipe, 8' - 10' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 800 | LF | 0
85 | 36" Pipe, 10' - 12' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 800 | LF | 0
86 | 36" Pipe, 12' - 15' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 400 | LF | 0
87 | 36" Pipe, 15' - 18' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 400 | LF | 0
88 | 36" Pipe, 18' - 22' depth | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 400 | LF | 0
89 | Granular roadway crossing backfill material, ALDOT #78 crushed stone | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 500 | CY | 0
90 | 4" PVC Lateral | City of Huntsville Design and Acceptance Manual for Sanitary Sewers Appendix C | 1000 | LF | 0
91 | 4" DIP Lateral | City of Huntsville Design and Acceptance Manual for Sanitary Sewers Appendix C | 500 | LF | 0
92 | 6" PVC Lateral | City of Huntsville Design and Acceptance Manual for Sanitary Sewers Appendix C | 400 | LF | 0
93 | 6" DIP Lateral | City of Huntsville Design and Acceptance Manual for Sanitary Sewers Appendix C | 200 | LF | 0
94 | New Pipe Connection to Existing Manhole, including laterals | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 3, 4 and Appendix B, C | 20 | EA | 0
ROCK BLASTING
Prices include seismograph monitoring, #78 stone backfill for blast holes, and mobilization
95 | Trench blasting (assuming 4 FT width and up to 12 FT depth) | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Appendix C | 750 | LF | 0
96 | Test Drilling | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Appendix C | 2000 | LF | 0
CLEARING AND GRUBBING
All prices include removal and disposal of materials.
97 | Light, includes removal and disposal of brush and trees up to 4" in diameter | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Appendix C | 2 | ACRE | 0
98 | Medium, includes removal and disposal of brush and trees 4" - 8" in diameter | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Appendix C | 2 | ACRE | 0
99 | Heavy, includes removal and disposal of brush and trees larger than 8" in diameter | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Appendix C | 2 | ACRE | 0
100 | 30" Class 3 Reinforced Concrete Pipe | City of Huntsville Std. Spec for Construction of Public Imp., Sec. 527 and 849 | 200 | LF | 0
101 | 36" Class 3 Reinforced Concrete Pipe | City of Huntsville Std. Spec for Construction of Public Imp., Sec. 527 and 849 | 100 | LF | 0
102 | 42" Class 3 Reinforced Concrete Pipe | City of Huntsville Std. Spec for Construction of Public Imp., Sec. 527 and 849 | 100 | LF | 0
103 | 48" Class 3 Reinforced Concrete Pipe | City of Huntsville Std. Spec for Construction of Public Imp., Sec. 527 and 849 | 100 | LF | 0
TRAFFIC CONTROL
104 | Light Traffic (Residential Streets) | City of Huntsville Std. Spec for Construction of Public Imp., Sec. 40 | 4 | EA | 0
105 | Medium Traffic (Residential Collector Streets) | City of Huntsville Std. Spec for Construction of Public Imp., Sec. 40 | 4 | EA | 0
106 | Heavy Traffic (Major Streets, Highways) | City of Huntsville Std. Spec for Construction of Public Imp., Sec. 40 | 4 | EA | 0
107 | Drums | City of Huntsville Std. Spec for Construction of Public Imp., Sec. 40 | 10 | EA | 0
108 | Type I Barricades | City of Huntsville Std. Spec for Construction of Public Imp., Sec. 40 | 25 | EA | 0
109 | Type II Barricades | City of Huntsville Std. Spec for Construction of Public Imp., Sec. 40 | 25 | EA | 0
110 | Type III Barricades | City of Huntsville Std. Spec for Construction of Public Imp., Sec. 40 | 25 | EA | 0
111 | 28" Cones | City of Huntsville Std. Spec for Construction of Public Imp., Sec. 40 | 50 | EA | 0
112 | 36" Cones | City of Huntsville Std. Spec for Construction of Public Imp., Sec. 40 | 50 | EA | 0
113 | Arrow Panels | City of Huntsville Std. Spec for Construction of Public Imp., Sec. 40 | 5 | EA | 0
114 | Road Signs to include posts installed | City of Huntsville Std. Spec for Construction of Public Imp., Sec. 40 | 30 | SF | 0
115 | Flagman | City of Huntsville Std. Spec for Construction of Public Imp., Sec. 40 | 100 | HR | 0
116 | Orange Construction Facing | City of Huntsville Std. Spec for Construction of Public Imp., Sec. 40 | 100 | LF | 0
117 | Type A Hazard Marker Installation, Complete-in-Place | City of Huntsville Std. Spec for Construction of Public Imp., Sec. 40 | 5 | EA | 0
LANDSCAPE CONSTRUCTION
118 | Topsoil, 4" thick | City of Huntsville Std. Spec for Construction of Public Imp., Sec. 649 | 1000 | SY | 0
119 | Mulching, Class A, Type I | City of Huntsville Std. Spec for Construction of Public Imp., Sec. 657 | 1000 | SY | 0
120 | Reseeding and Fertilize | City of Huntsville Std. Spec for Construction of Public Imp., Sec. 651 and 653 | 1000 | SY | 0
121 | Fescue Sod, in-place | City of Huntsville Std. Spec for Construction of Public Imp., Sec. 655 | 400 | SY | 0
122 | Tifton Bermuda Sod, in-place | City of Huntsville Std. Spec for Construction of Public Imp., Sec. 655 | 400 | SY | 0
123 | Emerald Zoysia Sod, in-place | City of Huntsville Std. Spec for Construction of Public Imp., Sec. 655 | 400 | SY | 0
124 | Hydro seeding and Mulching | City of Huntsville Std. Spec for Construction of Public Imp., Sec. 659 | 10 | ACRE | 0
125 | Hauling and Placement of Borrow Material (In-Place) | City of Huntsville Std. Spec for Construction of Public Imp., Sec. 659 | 100 | CF | 0
126 | Removal and Haul-off of Unclassified Borrow &Waste Material | City of Huntsville Std. Spec for Construction of Public Imp., Sec. 659 | 100 | CF | 0
MISCELLANEOUS - Replacement to be made in-kind
Items to be reset shall be installed to match the original conditions or better
127 | Mailboxes (remove and reset) | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Appendix C | 10 | EA | 0
128 | Removal and replacement of Standard Driveway Aprons, to include 6" thick with 6x6 wire mesh | City of Huntsville Std. Spec for Construction of Public Imp., Sec. 103 | 200 | SY | 0
129 | Removal and replacement of Asphalt Paving, per sq. yd./in of thickness (includes disposal of soils) | City of Huntsville Design and Acceptance Manual for Sanitary Sewers, Sec. 4 and Appendix B, C | 200 | SY | 0
130 | Removal and replacement of Concrete Sidewalk (includes disposal of soils) | City of Huntsville Std. Spec for Construction of Public Imp.,(Sec. 103 | 200 | SY | 0
131 | Removal and replacement of 24" Curb and Gutter (parking lots) | City of Huntsville Std. Spec for Construction of Public Imp., (Sec. 625) | 200 | LF | 0
132 | Removal and Replacement of 6' Wooden Privacy Fence | City of Huntsville Std. Spec for Construction of Public Imp., (Sec. 625) | 200 | LF | 0
133 | Removal and Replacement of 6' Composite Privacy Fence | City of Huntsville Std. Spec for Construction of Public Imp., (Sec. 625) | 200 | LF | 0
134 | Removal and replacement of 4' Chain Link Fence | City of Huntsville Std. Spec for Construction of Public Imp., (Sec. 625) | 200 | LF | 0
135 | Dense Graded Base Material, Type B, 100% compaction. Bid to include excavation, placement and compaction. | City of Huntsville Std. Spec. for Construction of Public Imp., (Sec. 205) | 200 | CY in-place | 0
136 | Bituminous Binder Layer, in-place | Section 424 of the Standard Specs for Highway Construction, ALDOT | 40 | TON | 0
137 | Bituminous Wearing Layer, in-place | Section 424 of the Standard Specs for Highway Construction, ALDOT | 40 | TON | 0
138 | Solid Rock Trench Excavation | City of Huntsville Design and Acceptance Manual for Sanitary Sewers Appendix C | 500 | CY in-place | 0
139 | Graded Limestone Rock #57 Crushed Stone for miscellaneous use for stabilization of roadways, driveways, etc. or as directed by Owner. | City of Huntsville Std. Spec for Construction of Public Imp., Sec. 801 | 20 | TON | 0
140 | Concrete Slab on Grade, in-place | City of Huntsville Std. Spec for Construction of Public Imp., Sec. 617 and 837 | 10 | CY | 0
141 | 10 Gauge Reinforcing Wire Mesh | City of Huntsville Std. Spec for Construction of Public Imp., Sec. 837 | 200 | SY | 0
142 | Steel Plating for Temporary Roadway Crossings (Contractor Retained) |  | 680 | SQ FT | 0
EROSION CONTROL
143 | Silt Fence, Type A Installation | City of Huntsville Std. Spec for Construction of Public Imp., Sec. 671 | 5000 | LF | 0
144 | Hay Bale Check Dam, Complete-in-place | City of Huntsville Std. Spec for Construction of Public Imp., Sec. 671 | 100 | EA | 0
145 | Class I Rip Rap | City of Huntsville Std. Spec for Construction of Public Imp., Sec. 605 | 200 | TN | 0
146 | Form and pour concrete manhole invert |  | 25 | EA | 0
| Contract Mobilization, (3% of the total cost of the work order adjusted for final quantities), INCLUDES project mobilization item | NOTE #29 | NA | NA
| TOTAL BASE BID PRICE |  |  |  | 0
Company______________________________ Signature_____________________________ Date__________________________________