## Sheet1
| ATTACHMENT "A2" |  |  |  | 2023-11-14
Periodic Bid for Drainage Projects - 2024
Project No. 71-24-DR01
BASE BID
ITEM # | DESCRIPTION | BID QTY | BID UNIT | UNIT PRICE | BID AMOUNT
All prices include the removal and disposal, including hauling of soil and materials.
I. MOBILIZATION
1 | A. CONTRACT MOBILIZATION, (3% OF THE TOTAL COST OF THE WORK ORDER ADJUSTED FOR FINAL QUANTITIES)
B. PROJECT MOBILIZATION
2 | Project Mobilization A (will be paid on projects that have a cost less than $1,000.00) | 25 | EA |  | 0
3 | Project Mobilization B (will be paid on projects that have a cost > or equal to $1,000.00 but < than $5,000.00) | 10 | EA |  | 0
4 | Project Mobilization C (will be paid on projects that have a cost > or equal to $5,000.00 but < than $10,000.00) | 10 | EA |  | 0
5 | Project Mobilization D (will be paid on projects that have a cost > or equal to $10,000.00 but < than $25,000.00) | 10 | EA |  | 0
6 | Project Mobilization E (will be paid on projects that have a cost > or equal to $25,000.00 but < than $50,000.00) | 10 | EA |  | 0
7 | Project Mobilization F (will be paid on projects that have a cost > or equal to $50,000.00 but < than $75,000.00) | 5 | EA |  | 0
8 | Project Mobilization G (will be paid on projects that have a cost > or equal to $75,000.00 but < than $100,000.00) | 4 | EA |  | 0
9 | Project Mobilization H (will be paid on projects that have a cost > than $100,000.00 but < than $200,000.00) | 2 | EA |  | 0
II. Street Construction
10 | New City Std. (24") Concrete Curb and Gutter | 500 | LF |  | 0
11 | New (24") Concrete Valley Curb | 100 | LF |  | 0
12 | 4" Thick Concrete for new sidewalk and/or traffic islands ( Less than 200 SY) | 200 | SY |  | 0
13 | 6" Thick Concrete for new sidewalk and/or traffic islands and/or driveways | 200 | SY |  | 0
14 | Removal of Concrete Curb and Gutter or Valley Gutter (Includes Disposal of Spoils) | 500 | LF |  | 0
15 | New 6" Thick Concrete Driveway Aprons | 80 | SY |  | 0
16 | Removal of Driveway Aprons | 80 | SY |  | 0
17 | New 4" Thick Concrete Driveway with 6X6W 2.9 reinforcing wire mesh | 80 | SY |  | 0
18 | Removal and Replacement of Single Wing "S" Type Inlet, Top Only, (COH Standard Drawing Nos. DR-120A, DR-120B, and DR-120C - ALL referenced DR Drawings found in the City of Huntsville Engineering Standards for Construction of Public Improvements 1991); Includes Disposal of Spoils) | 15 | EA |  | 0
19 | Removal and Replacement of Double Wing "S" Type Inlet, Top Only, (COH Standard Drawing Nos. DR-120A, DR-120B, and DR-120C; Includes Disposal of Spoils) | 15 | EA |  | 0
20 | Removal of asphalt paving, other than by milling, per sq.yd./in. of thickness (Includes Disposal of Spoils) | 10000 | SY-IN |  | 0
21 | Milling of Existing Asphalt Pavement (per square yard / inch of depth) - less than 100 SY | 10000 | SY-IN |  | 0
22 | Milling of Existing Asphalt Pavement (per square yard / inch of depth) - over 100 SY | 10000 | SY-IN |  | 0
23 | Removal of concrete sidewalk and concrete driveways (Includes Disposal of Spoils) | 200 | SY-IN |  | 0
24 | Plant Mix Bituminous Base for Street Repair (trenches and patching) per ton in place in accordance with Section 327 per Standard Specifications, ALDOT | 500 | TONS |  | 0
25 | Plant Mix Bituminous Wearing Course for Street Repair (trenches and patching), per ton in place in accordance with Section 410 Standard Specifications, ALDOT | 500 | TONS |  | 0
26 | Graded limestone rock for stabilization of roadway, subgrade. Price includes delivery of material to job site, dumping, spreading, and compacting. (delivery tickets) | 2000 | TONS |  | 0
27 | Manhole Risers | 5 | EA |  | 0
28 | Dense Graded Base, placed in accordance with Section 301 of the Standard Specifications, ALDOT. All materials shall be in accordance with Section 825, Type B, 100% compaction. Bid to include excavation. | 800 | TONS |  | 0
29 | Dense Graded Base Material - placed and compacted along roadway shoulder. Price includes delivery of material to job site, dumping, spreading, and compacting (delivery tickets required). Traffic Control not included under this item. | 250 | TONS |  | 0
30 | 424-A Superpave Bituminous Concrete Wearing Surface Layer - 3/8" Maximum Aggregate Size Mix ESAL Range C/D (Asphalt Spreader Equipment) | 1000 | TONS |  | 0
31 | 424-B Superpave Bituminous Concrete Binder Upper Layer - 1 " Maximum Aggregate Size Mix, ESAL Range C/D (Asphalt Spreader Equipment) | 1000 | TONS |  | 0
32 | Dense Graded Base Material - placed and compacted along roadway shoulder. Price includes delivery of material to job site, dumping, spreading, and compacting (delivery tickets required). Traffic Control not included under this item. - LESS THAN 50 TONS | 100 | TONS |  | 0
33 | Dense Graded Base Material - placed and compacted along roadway shoulder. Price includes delivery of material to job site, dumping, spreading, and compacting (delivery tickets required). Traffic Control not included under this item. 50-100 TONS | 200 | TONS |  | 0
III. DRAINAGE CONSTRUCTION
A. EXCAVATION PER SECTION 105 COH STANDARDS
1. Channel Excavation (measured in its original position computed by average end area)
34 | Less than 200 Cubic Yards | 50 | CY |  | 0
35 | 200 - 500 Cubic Yards | 250 | CY |  | 0
36 | 2. Solid Rock Excavation (trench and channel rock; Includes Disposal of Spoils) | 40 | CY |  | 0
3. Unclassified Excavation (includes removal and disposal from job site and/or reusing material at job site as backfill, fill, or topsoil, placed and compacted as directed).
37 | Less than 200 Cubic Yards | 10000 | CY |  | 0
38 | 200 - 500 Cubic Yards | 10000 | CY |  | 0
39 | Over 500 Cubic Yards | 10000 | CY |  | 0
B. STONE RIP RAP CONSTRUCTION
40 | 1. Stone obtained from jobsite and placed on ditch side slopes and/or in ditch bottom, 12" thick min. | 30 | SY |  | 0
2. Stone hauled in and placed on ditch side slopes and/or in ditch bottom,
41 | Class 1 Rip Rap (Less than 200 Tons) | 100 | TONS |  | 0
42 | Class 1 Rip Rap (200 Tons or More) | 300 | TONS |  | 0
43 | Class 2 Rip Rap (Less than 200 Tons) | 100 | TONS |  | 0
44 | Class 2 Rip Rap (200 Tons or More) | 300 | TONS |  | 0
3. Stone Riprap (grouted in place) Type II Placement, Type II Finish
45 | Class 1 Riprap, 12" thick min. (Less than 200 Tons) | 100 | TONS |  | 0
46 | Class 1 Riprap, 12" thick min. (200 Tons or More) | 300 | TONS |  | 0
47 | Class 2 Riprap (Less than 200 Tons) | 100 | TONS |  | 0
48 | Class 2 Riprap (200 Tons or More) | 300 | TONS |  | 0
49 | 4. Filter Fabric Blanket, Section 610 of ALDOT Specs | 166 | SY |  | 0
C. MISCELLANEOUS CONCRETE AND REINFORCING STEEL BARS
50 | Unreinforced Concrete (includes forming, pouring, finishing, complete-in-place) | 25 | CY |  | 0
51 | Reinforced Concrete (includes forming, pouring, finishing, steel reinforcement, complete-in-place). | 25 | CY |  | 0
52 | Concrete Flume (City of Huntsville Standard Drawing No. DR-161) *Price per square yard of surface area includes all reinforcement, joints, and miscellaneous items shown in the detail drawing. | 500 | SY |  | 0
D. NEW REINFORCED ROUND CONCRETE PIPE INSTALLED IN PLACE, PER LF (INCLUDES EXCAVATION DISPOSAL OF SPOILS, 6" STONE BEDDING, SOIL FROM EXCAVATION, BACKFILL AND COMPACTION)
53 | 15" Class III R.C. Pipe, 0' - 8' depth | 800 | LF |  | 0
54 | 15" Class III R.C. Pipe, 0' - 8' depth (Labor Only-COH will purchase pipe; Contractor responsible for coordinating delivery of the pipe, unloading, and providing all equipment and labor for installation) | 200 | LF |  | 0
55 | 18" Class III R.C. Pipe, 0' - 8' depth | 800 | LF |  | 0
56 | 18" Class III R.C. Pipe, 0' - 8' depth (Labor Only-COH will purchase pipe; Contractor responsible for coordinating delivery of the pipe, unloading, and providing all equipment and labor for installation) | 200 | LF |  | 0
57 | 24" Class III R.C. Pipe, 0' - 8' depth | 480 | LF |  | 0
58 | 24" Class III R.C. Pipe, 0' - 8' depth (Labor Only-COH will purchase pipe; Contractor responsible for coordinating delivery of the pipe, unloading, and providing all equipment and labor for installation) | 200 | LF |  | 0
59 | 30" Class III R.C. Pipe, 0' - 8' depth | 400 | LF |  | 0
60 | 30" Class III R.C. Pipe, 0' - 8' depth (Labor Only-COH will purchase pipe; Contractor responsible for coordinating delivery of the pipe, unloading, and providing all equipment and labor for installation) | 100 | LF |  | 0
E. NEW REINFORCED CL III CONCRETE ARCH PIPE INSTALLED IN PLACE PER LF (INCLUDES DISPOSAL OF SPOILS, 6" STONE BEDDING, SOIL FROM EXCAVATION, BACKFILL AND COMPACTION)
61 | 11" X 18" Class III R.C. Arch Pipe, 0' - 8' depth | 60 | LF |  | 0
62 | 13" x 22" Class III R.C. Arch Pipe, 0' - 8' depth | 60 | LF |  | 0
63 | 18" x 29" Class III R.C. Arch Pipe, 0' - 8' depth | 60 | LF |  | 0
64 | 22-1/2" x 36-1/4" Class III R.C. Arch Pipe, 0' - 8' depth | 60 | LF |  | 0
F. New Precast Flared Pipe End Sections (Type I) Installed in Place (Includes disposal of Spoils, bedding, soil from excavation, backfill, and compaction)
65 | 15" Flared End Section | 3 | EA |  | 0
66 | 18" Flared End Section | 3 | EA |  | 0
67 | 24" Flared End Section | 3 | EA |  | 0
68 | 30" Flared End Section | 3 | EA |  | 0
G. Construction of Single "S" Inlet, (Drawing Nos. DR-120A, DR-120B, DR120C)
69 | Standard Size, 4'-0" x 4'-6" Box and 8'-6" wing, (0'-6' depth) | 10 | EA |  | 0
H. CONSTRUCTION OF DOUBLE "S" TYPE INLET, (DRAWING NOS. DR-120A, DR-120B, DR-120C)
70 | Standard Size, 4'-0" x 4'-6" Box and 8'-6" wing, (0'-6' depth) | 4 | EA |  | 0
I. CONSTRUCTION OF SINGLE CURB INLET (DRAWING NOS. DR-105A, DR-105B)
71 | Standard Size, (0'-6' depth) | 4 | EA |  | 0
J. CONSTRUCTION OF DOUBLE CURB INLET, (DRAWING NOS. DR-110A AND DR-110B)
72 | Standard Size, (0'-6' depth) | 4 | EA |  | 0
K. CONSTRUCTION OF OPEN THROAT INLET, (DRAWING NOS. DR-127A, DR- 127B, DR-127C)
73 | Standard Size, (4'-4" x 4'-4" Box, 0'-6' depth) | 10 | EA |  | 0
L. CONSTRUCTION OF OPEN THROAT INLET, (TYPE "M"). See Attachment "N" for Detail.
74 | Standard Size (4'-9" x 4' Box, 0'- 6' depth) | 4 | EA |  | 0
M. CONSTRUCTION OF OPEN THROAT INLET, (TYPE "C"). See Attachment "M" for Detail.
75 | Standard Size (4'-9" x 4' Box, 0'- 6' depth) | 4 | EA |  | 0
N. CONSTRUCTION OF GRATE INLET, TRAFFIC TYPE (DRAWING NOS. DR-125A AND DR-125B)
76 | Standard Size, (3'-6" x 3'-6" Box, 0'- 6' depth) | 5 | EA |  | 0
O. CONSTRUCTION OF GRATE INLET TRAFFIC TYPE (DRAWING NOS. DR-125C, AND DR- 125D)
77 | Standard Size (6'-0" x 5'-0" Box, 0'-6' deep) | 2 | EA |  | 0
P. CONSTRUCTION OF GRATE INLET, NON- TRAFFIC TYPE (DRAWING NOS. DR-126A AND DR-126B)
78 | Standard Size, (3'-6" x 3'-6" Box, 0'-6' depth) | 4 | EA |  | 0
Q. CONSTRUCTION OF GRATE INLET, NON- TRAFFIC TYPE (DRAWING NOS. DR-126C, and DR-126D)
79 | Standard Size (6' x 5' Box, 0-6' deep) | 2 | EA |  | 0
R. CONSTRUCTION OF JUNCTION BOX, TRAFFIC TYPE (DRAWING NOS. DR-140A AND DR-140B)
80 | Standard Size (3'-6" x 3'-6" Box, 0'-6' depth) | 4 | EA |  | 0
S. CONSTRUCTION OF JUNCTION BOX, TRAFFIC TYPE (DRAWING NOS. DR-141A AND DR-141B)
81 | Standard Size (6'-0" x 5'-0" Box, 0'-6' deep) | 2 | EA |  | 0
T. TIE IN EXISTING PIPE TO NEW DRAINAGE BOX
82 | Up to 24" diameter or width | 11 | EA |  | 0
83 | 30" to 48" diameter or width | 3 | EA |  | 0
V. CONSTRUCTION OF CONCRETE HEADWALL (DRAWING NOS. DR-150A, DR-150B)
84 | 12" or 15" pipe | 5 | EA |  | 0
85 | 18" pipe | 5 | EA |  | 0
86 | 24" pipe | 5 | EA |  | 0
87 | 30" pipe | 5 | EA |  | 0
88 | X. SLOPE PAVED HEADWALLS FOR PIPE, PRICE PER SQUARE YARD OF EXPOSED SURFACE. (DRAWING NOS. DR-152A, DR-152B, DR-152C, DR-153A, DR-153B, DR-153C, DR-153D) | 10 | SY |  | 0
Y. TRENCH DRAIN CHANNELS AND GRATES
89 | Trench Grate with sloped channel includes forming, concrete, and all materials, complete in place (see attachment P) | 30 | LF |  | 0
90 | Trench Grate with Flat channel including 12" wide (traffic) gray iron (class 30) slotted grate includes forming, concrete, and all materials, complete in place (see attachment O) | 30 | LF |  | 0
91 | Tie Ins - Channels to existing drainage structure (pipe or box) | 10 | EA |  | 0
92 | Heavy Duty Vane Type Grate Inlet including frame (Neenah R-4999-L3, or equal) | 26 | LF |  | 0
93 | Concrete Trench for Heavy Duty Vane Type Grate, 12" trench width, depth 12" - 18". Construction and installation per manufacturer's recommendations | 26 | LF |  | 0
BB. NEW HIGH DENSITY POLYPROPYLENE CORRUGATED STORM PIPE (SMOOTH INTERIOR PIPE), CONFORMING TO ASTM F2736 AND ASTM F2764. PRICE INCLUDES EXCAVATION, STONE BEDDING, STONE BACKFILL, AND DISPOSAL OF SPOILS (COMPLETE IN PLACE)
94 | 12" Pipe, 0-8' deep | 200 | LF |  | 0
95 | 15" Pipe, 0-8' deep | 400 | LF |  | 0
96 | 18" Pipe, 0-8' deep | 400 | LF |  | 0
97 | 24" Pipe, 0-8' deep | 400 | LF |  | 0
98 | 30" Pipe, 0-8' deep | 250 | LF |  | 0
99 | MISCELLANEOUS STONE BACKFILL (ANY SIZE), IN PLACE MEASUREMENT | 50 | CY |  | 0
100 | 4" Corrugated Polyethelyene Slotted Pipe w/sock, 0'-5' deep installed in place, per LF (includes excavation, bedding, backfill to grade, and disposal of spoils) - stone paid for separately | 200 | LF |  | 0
101 | 6" Corrugated Polyethelyene Slotted Pipe w/sock, 0'-5' deep installed in place, per LF (includes excavation, bedding, backfill to grade, and disposal of spoils) - stone paid for separately | 200 | LF |  | 0
102 | 4" French Drain installed in place, per LF (includes excavation, bedding, stone, filter fabric, backfill to grade, and disposal of spoils) | 200 | LF |  | 0
103 | 6" French Drain installed in place, per LF (includes excavation, bedding, stone, filter fabric, backfill to grade, and disposal of spoils) | 200 | LF |  | 0
104 | TYPE "A" Silt Fence per ALDOT Spec #665 (includes materials, installation, maintenance and removal) | 200 | LF |  | 0
A. FENCE REMOVAL AND REPLACEMENT WITH NEW FENCE MATERIAL TO MATCH EXISTING
105 | 4' High Residential Chain Link Fencing | 400 | LF |  | 0
106 | 6' High Treated Wood Privacy Fence | 200 | LF |  | 0
B. TEMPORARY FENCING (INCLUDES REMOVAL)
107 | 4' High Residential Chain Link Fencing | 200 | LF |  | 0
108 | 6' High Residential Chain Link Fencing | 100 | LF |  | 0
C. FENCE REMOVE AND RESET EXISTING FENCING
109 | 4' High Residential Chain Link Fencing | 1130 | LF |  | 0
110 | 6' High Treated Wood Privacy Fence | 400 | LF |  | 0
IV. TREE REMOVAL AND DISPOSAL
111 | Light - lawns, rights-of-ways, shrubs, grassy fields and pasture land, minimum underbrush, trees 10" diameter or smaller, up to 5 trees/acre | 6 | ACRE |  | 0
112 | Medium - lawns, rights-of-ways, shrubs, grassy fields and pasture land, medium underbrush, trees 15" diameter or smaller, up to 10 trees/acre | 12 | ACRE |  | 0
113 | Heavy - lawns, rights-of-ways, shrubs, grassy fields and pasture land, thick underbrush, trees 15" diameter, no limit on density | 12 | ACRE |  | 0
V. TRAFFIC CONTROL
114 | Drums | 100 | EA |  | 0
115 | Type I Barricades | 10 | EA |  | 0
116 | Type II Barricades | 10 | EA |  | 0
117 | Type III Barricades | 10 | EA |  | 0
118 | 28" Cones | 15 | EA |  | 0
119 | 36" Cones | 15 | EA |  | 0
120 | Arrow Panels | 5 | EA |  | 0
121 | Road Signs per ALDOT 740B to include posts installed | 500 | SF |  | 0
122 | Flagman | 200 | HR |  | 0
123 | Orange construction fencing per ALDOT #647 | 250 | LF |  | 0
124 | 5" Wide Solid White, Class 2, Type A Traffic Stripe (0.06" Thick), Complete In-Place PER C.O.H. SPECIFICATION #701 | 1500 | LF |  | 0
125 | 5" Wide Solid White, Class 2, Type A Traffic Stripe (0.06" Thick), Complete In-Place PER C.O.H. SPECIFICATION #701 | 1500 | LF | 0 | 0
126 | 5" Wide Broken White, Class 2, Type A Traffic Stripe (0.06" Thick), Complete In-Place PER C.O.H. SPECIFICATION #701 | 1500 | LF |  | 0
127 | 5" Wide Solid Yellow, Class 2, Type A Traffic Stripe (0.09" Thick), Complete In-Place PER C.O.H. SPECIFICATION #701 | 1500 | LF |  | 0
128 | 5" Wide Broken Yellow, Class 2, Type A Traffic Stripe (0.09" Thick), Complete In-Place PER C.O.H. SPECIFICATION #701 | 1500 | LF |  | 0
129 | 5" Wide Dotted Class 2, Type A Traffic Stripe, (0.09" Thick), Complete In-Place PER C.O.H. SPECIFICATION #701 | 750 | LF |  | 0
130 | Broken Temporary Traffic Stripe, Complete In-Place PER C.O.H. SPECIFICATION #701 | 1500 | LF |  | 0
131 | Solid Temporary Traffic Stripe, Complete In-Place PER C.O.H. SPECIFICATION #701 | 1500 | LF |  | 0
VI. Landscape Construction
132 | Topsoil Cubic Yards (CY), Loose Truck Measurement | 750 | CY |  | 0
133 | Mulching, Class A, Type 1 | 250 | SY |  | 0
134 | Fescue Sod (in-place) | 10000 | SY |  | 0
135 | Seed, Straw, and Fertilize | 5000 | SY |  | 0
136 | Tifton Bermuda Sod (in-place) | 10000 | SY |  | 0
137 | Tree planting labor (per tree) (COH provides trees) | 50 | EA |  | 0
VII. Irrigation System
138 | Rain Bird ESP16LXM Controller with Stainless Style Pedestal with Concrete Base Complete in Place | 2 | EA |  | 0
139 | Rain Bird F4-PC, FC-SS Turf Rotor, 4.0" Pop-Up, Stainless Steel Riser, Adjustable and Full Circle. With Removable Seal-A-Matic Check Valve, 1" Female Threaded Inlet. (5004) | 75 | EA |  | 0
140 | Rain Bird XCZ-100-PRB-COM 1" Wide Flow Drip Control Kit for Commercial Applications. 1" Ball Valve with 1" PESB Valve and 1" Pressure Regulating 40psi Quick-Check Basket Filter. 0.3gpm to 20gpm. | 7 | EA |  | 0
141 | Rain Bird RWS-M-B-C-1401 Root Watering System Mini | 75 | EA |  | 0
142 | Netafim TLEZ-04-18 Techline EZ Pressure Compensating Landscape Dripline with Anti-Siphon Dripper. 0.4 GPH emitters at 18" O.C. Dripline laterals spaced at 18" apart, with emitters offset for triangular pattern. 12mm. | 750 | LF |  | 0
143 | Rain Bird Master Valve 2" PESB-PRSD with 12" Valve Box Complete in Place | 1 | EA |  | 0
144 | Irrigation Lateral Line: PVC Class 200 SDR 21 1 1/2" | 1000 | LF |  | 0
145 | Irrigation Mainline: PVC Class 40, 2" Complete in plaace to inlcude Crushed Stone Backfill | 200 | LF |  | 0
146 | Pipe Sleeve: CPVC Schedule 40, 4" Complete in place with Crushed Stone Backfill | 120 | LF |  | 0
147 | Rain Bird WR2 Wireless Raw Sensor | 3 | EA |  | 0
148 | 14-1 UF Direct Burial Red Sprinkler Control Wire | 100 | LF |  | 0
149 | 12-1 UF Direct Burial White Sprinkler Control Wire | 1000 | LF |  | 0
150 | 16-1 UF Direct Burial Blue Wire for Tracer | 1000 | LF |  | 0
151 | Rain Bird 1806 SAM-PRS-45 Sprinkler Head with Barb Fitting, Swing Pipe and PVC Tee for Laterial Connection | 50 | EA |  | 0
152 | Rain Bird 150 PESB Control Valve with PRS-D Regulator with 12" Box Complete In Place | 10 | EA |  | 0
153 | Rain Bird 1812 SAM-PRS-45 Sprinkler Head with Barb Fitting, Swing Pipe and PVC Tee for Laterial Connection | 25 | EA |  | 0
154 | Rain Bird 1806 SAM-PRS-45 Sprinkler Head with Barb Fitting, Swing Pipe and PVC Tee for Laterial Connection | 25 | EA |  | 0
155 | Hunter MP3000 90-210 Nozzles | 25 | EA |  | 0
| TOTAL BASE BID PRICE (for evaluation purposes only): |  |  |  | 0
Basis of payment will be determined by multiplying the measured in place quantities determined in the field by the contract bid unit prices.
ALL ITEMS SHALL BE CONSIDERED IN-PLACE. PRICES SHALL INCLUDE ALL LABOR, EQUIPMENT,MATERIALS, AND REMOVALS AS REQUIRED FOR CONSTRUCTION OF THE REQUIRED WORK.
COMPANY__________________________ SIGNATURE_________________________ DATE______________________________