## BASE BID
| ATTACHMENT "A1" |  |  |  | 2023-11-08
The Commons at Trailhead
City of Huntsville Project No. 71-21-RD05
UNIT BID SHEET
ITEM NO. | DESCRIPTION | BID QTY | BID UNIT | BID UNIT PRICE | BID AMOUNT
1 | Clearing and Grubbing, Per COH Specification 101 (Includes removals of, but not limited to , Paving, Curb and Gutter, Storm Structures, etc.) | 1 | LS |  | 0
2 | Unclassified Excavation, Per COH Specification 105 (Contractor to be paid only once for moving dirt) | 64600 | CY |  | 0
3 | Combination 24" curb & gutter, Per COH Specification 625 (Complete in Place, includes labor and materials) | 6151 | LF |  | 0
4 | 424-A Bituminous Concrete Wearing Surface Layer, 3/8 Max. Aggregate Size, ESAL Range C/D, 1 Layer of 165 Lbs/S.Y., ALDOT Spec. 424 (Complete in Place, Includes Labor and Materials) | 1210 | TON |  | 0
5 | 424-A Bituminous Concrete Wearing Surface Layer, 1/2 Max. Aggregate Size, ESAL Range C/D, 135 Lbs/S.Y., ALDOT Spec. 424 (Complete in Place, Includes Labor and Materials)-ALDOT ROW | 25 | TON |  | 0
6 | 424-B Bituminous Concrete Upper Binder Layer, 1" Max. Aggregate Size, ESAL Range C/D, 2 layers of 250 Lbs/S.Y., ALDOT Spec. 424 (Complete in Place, Includes Labor and Materials) | 3670 | TON |  | 0
7 | 424-B Bituminous Concrete Upper Binder Layer, 1" Max. Aggregate Size, ESAL Range C/D, 1 layer of 350 Lbs/S.Y., ALDOT Spec. 424 (Complete in Place, Includes Labor and Materials)-ALDOT ROW | 65 | TON |  | 0
8 | 424-B Bituminous Concrete Lower Binder Layer, 1" Max. Aggregate Size, ESAL Range C/D, 1 layer of 350 Lbs/S.Y., ALDOT Spec. 424 (Complete in Place, Includes Labor and Materials)-ALDOT ROW | 65 | TON |  | 0
9 | 424-C Bituminous Concrete base layer, 1" Max. Aggregate Size, ESAL Range C/D, 1 layer of 350 Lbs/S.Y., ALDOT Spec. 424 (Complete in Place, Includes Labor and Materials)-ALDOT ROW | 65 | TON |  | 0
10 | 6" Crushed Aggregate Base, Type B, Plant Mixed, ALDOT Spec. 825, (Complete in Place, Includes Labor and Materials) | 33650 | SY |  | 0
11 | Tack Coat, ALDOT Spec. 405, (Complete in Place, Includes Labor and Materials) | 1021 | GAL |  | 0
12 | Inlet, Type "S", 2-wing, Per COH Specification 621 (Complete in Place, Includes Labor and Materials)) | 4 | EA |  | 0
13 | Inlet, Type "S", 1-wing, Per COH Specification 621 (Complete in Place, Includes Labor and Materials) | 19 | EA |  | 0
14 | Inlet, Type "S", 1-wing, Partial Per COH Specification 621 (Complete in Place, Includes Labor and Materials) | 2 | EA |  | 0
15 | Inlet, Type "S", 1-wing, large, Per COH Specification 621 (Complete in Place, Includes Labor and Materials) | 1 | EA |  | 0
16 | Open Throat Inlet, Per COH Specification 621 (Complete in Place, Includes Labor and Materials) | 3 | EA |  | 0
17 | Type "E" Inlet, Per ALDOT specification 621 (Complete in Place, Includes Labor and Materials in Hwy. 72) | 1 | EA |  | 0
18 | Junction Box, Per COH Specification 621 (Complete in Place, Includes Labor and Materials) | 18 | EA |  | 0
19 | Junction Box, Partial, Per COH Specification 621 (Complete in Place, Includes Labor and Materials) | 1 | EA |  | 0
20 | 18" RCP Class III, Per COH Specification 527(Complete in Place, Includes labor, materials, excavation, earth and gravel backfill, connections to boxes, etc.) | 1947 | LF |  | 0
21 | 24" RCP Class III, Per COH Specification 527(Complete in Place, Includes labor, materials, excavation, earth and gravel backfill, connections to boxes, etc.) | 520 | LF |  | 0
22 | 30" RCP Class III, Per COH Specification 527(Complete in Place, Includes labor, materials, excavation, earth and gravel backfill, connections to boxes, etc.) | 1056 | LF |  | 0
23 | 36" RCP Class III, Per COH Specification 527 (Complete in Place, Includes labor, materials, excavation, earth and gravel backfill, connections to boxes, etc.) | 202 | LF |  | 0
24 | Slope Paved Headwall (for pipe sizes smaller than 54"), Per COH Specification 620 (Complete in Place, Includes Labor and Materials) | 6 | EA |  | 0
25 | Box Culvert Storm Pipe Connection, Per ALDOT Specification 524 (Complete in Place, Includes Labor and Materials) | 5 | EA |  | 0
26 | Reinforced Concrete Box Culvert Opening Double 12 x 4 , Per COH Specification 523 (Complete in Place, Includes Labor, Materials, Excavation, earth backfill and gravel backfill) | 143 | LF |  | 0
27 | Reinforced Concrete Box Culvert Wing Openings 4' Height 3:1 Slope, 0 degree skew, Per COH Specification 523 (Complete in Place, Includes Labor and Materials) | 3 | EA |  | 0
28 | Reinforced Concrete Box Culvert Wing Openings 4' Height 3:1 Slope, 45 degree skew, Per COH Specification 523 (Complete in Place, Includes Labor and Materials) | 1 | EA |  | 0
29 | 2" Electrical Conduit, Materials, Construction & Testing per Huntsville Utilities Specifications (Complete in Place, Includes Labor and Materials (all pull strings, elbows, bends, bonding, etc. to install in field)) | 2188 | LF |  | 0
30 | 5" Electrical Conduit, Materials, Construction & Testing per Huntsville Utilities Specifications (Complete in Place, Includes Labor and Materials (all pull strings, elbows, bends, bonding, etc. to install in field)) | 3593 | LF |  | 0
31 | 6" Electrical Conduit, Materials, Construction & Testing per Huntsville Utilities Specifications (Complete in Place, Includes Labor and Materials (all pull strings, elbows, bends, bonding, etc. to install in field)) | 2265 | LF |  | 0
32 | Fiberglass Transformer Pad, Materials, Construction & Testing per Huntsville Utilities Specifications (Complete in Place, Includes Labor and Materials (all elbows, bends, bonding, etc. to install in field)) | 1 | EA |  | 0
33 | All Other Huntsville Utilities Electrical Material Supplied Infrastructure, Construction & Testing per Huntsville Utilities Specifications (Complete in Place, Includes Labor and Materials (all elbows, bends, bonding, etc. to install in field)) | 1 | LS |  | 0
34 | Huntsville Utilities LED Cobra Head Street Lights Supplied Infrastructure, Construction & Testing per Huntsville Utilities Specifications (Complete in Place, Includes Labor and Materials (all elbows, bends, bonding, etc. to install in field)) | 1 | LS | 0 | 0
35 | Huntsville Utilities Supplied 6" D.I.P. Water Main, Materials, Construction & Testing per Huntsville Utilities Specifications (Complete in Place, Includes Labor and Materials) | 400 | LF |  | 0
36 | Huntsville Utilities Supplied 8" D.I.P. Water Main, Materials, Construction & Testing per Huntsville Utilities Specifications (Complete in Place, Includes Labor and Materials) | 1800 | LF |  | 0
37 | Huntsville Utilities Supplied 12" D.I.P. Water Main, Materials, Construction & Testing per Huntsville Utilities Specifications (Complete in Place, Includes Labor and Materials) | 400 | LF |  | 0
38 | Huntsville Utilities Supplied 24" D.I.P. Water Main, Materials, Construction & Testing per Huntsville Utilities Specifications (Complete in Place, Includes Labor and Materials) | 1280 | LF |  | 0
39 | Huntsville Utilities Supplied Fire Hydrants with Control Valve and Valve Box Per Huntsville Utilities Specifications (Complete In-Place, Includes Labor and Materials) | 4 | EA |  | 0
40 | Huntsville Utilities Supplied 6" Gate Valve Per Huntsville Utilities Specifications (Complete In-Place, Includes Labor and Materials) | 15 | EA |  | 0
41 | Huntsville Utilities Supplied 8" Gate Valve Per Huntsville Utilities Specifications (Complete In-Place, Includes Labor and Materials) | 3 | EA |  | 0
42 | Huntsville Utilities Supplied 12" Gate Valve Per Huntsville Utilities Specifications (Complete In-Place, Includes Labor and Materials) | 3 | EA |  | 0
43 | Huntsville Utilities Supplied 24" Butterfly Valve Per Huntsville Utilities Specifications (Complete In-Place, Includes Labor and Materials) | 7 | EA |  | 0
44 | Huntsville Utlities Supplied 6" Tap and Sleeve Per Huntsville Utilities Specifications (Complete In-Place, Includes Labor and Materials) | 1 | EA |  | 0
45 | Huntsville Utilities Supplied 8" Tap and Sleeve Per Huntsville Utilities Specifications (Complete In-Place, Includes Labor and Materials) | 1 | EA |  | 0
46 | Concrete Handicap Ramp, Per Detail in Plans(Complete in Place, Includes Labor and Materials) | 22 | EA |  | 0
47 | 4" Concrete Sidewalk, (Complete in Place, Includes Labor and Materials) | 3017 | SY |  | 0
48 | Pedestrian Handrail, Per Plan Details or approved City of Huntsville Alternative-(including labor and materials) | 300 | LF |  | 0
49 | Type IV Traffic Junction Box, Per COH Traffic Department Standards (Complete in Place, Includes Labor and Materials such as Bends etc.) | 4 | EA |  | 0
50 | 3", SCH 40 SIGNAL CONDUIT, Per COH Specification 713 (Complete in Place, Includes Labor and Materials such as Bends etc.) | 380 | LF |  | 0
51 | 2", SCH 40 SIGNAL CONDUIT, Per COH Specification 713 (Complete in Place, Includes Labor and Materials such as Bends etc.) | 1140 | LF |  | 0
52 | Traffic Control Legend, Per COH Specification 703 (Complete in Place, Includes Labor and Materials) | 157 | SF |  | 0
53 | Traffic Control Marking, Per COH Specification 703 (Complete in Place, Includes Labor and Materials) | 1107 | SF |  | 0
54 | 5" Wide Solid White Traffic Stripe, Class 2, Type A, Per ALDOT Specification 701 (Complete in Place, Includes Labor and Materials) | 820 | LF |  | 0
55 | 5" Wide Solid Yellow Traffic Stripe, Class 2, Type A, Per ALDOT Specification 701 (Complete in Place, Includes Labor and Materials) | 2 | MI |  | 0
56 | 5" Broken Yellow Traffic Stripe, Class 2, Type A, Per ALDOT Specification 701 (Complete in Place, Includes Labor and Materials) | 3242 | LF |  | 0
57 | 4" Dotted Line White Traffic Stripe, Class 2, Type A, Per ALDOT Specification 701 (Complete in Place, Includes Labor and Materials) | 315 | LF |  | 0
58 | Class 4, Aluminum Multiple Flat Sign Panels (0.08" Thick) (14 Gauge Type III or Type IV Background), Complete In-Place To Include "U" Channel Galvanized Post @ 3 lbs/LF, Per COH 880 (Complete in Place, Includes Labor and Materials) | 153 | SF |  | 0
59 | Course Aggregate, per ALDOT 801, for construction entrance and as directed by Engineer. (Complete in Place, Includes Labor and Materials) | 40 | TON |  | 0
60 | 4" Topsoil From Stockpile, Per COH Specification 649 (Complete in Place, Includes Labor and Placement of soil from stockpile) | 580 | CY |  | 0
61 | Silt Fence, Type A (2' to 4' High), Per COH 671(Complete in Place, Includes Labor, Materials, and Removal) | 6200 | LF |  | 0
62 | 12" Wattle, Erosion Protection, Per ALDOT Specification 671 (Complete in Place, Includes Labor, Materials, and Removal) | 640 | LF |  | 0
63 | Hay Bales, Per ALDOT Specification 671 (Complete in Place, Includes Labor, Materials, and Removal) | 100 | EA |  | 0
64 | Temporary-Seeding and Mulching, Per ALDOT Specification 671 (Complete in Place, Includes Labor and Materials) | 3 | AC |  | 0
65 | Seeding and Mulching, Per COH 659 (Complete in Place, Includes Labor and Materials) | 26 | AC |  | 0
66 | Solid Sodding (Bermuda, Fescue, or Zoysia), Per COH 655 (Complete in Place, Includes Labor and Materials) | 2700 | SY |  | 0
67 | Rip-Rap Class II, Per COH Specification 605 (Complete in Place, Includes Labor and Materials) | 176 | SY |  | 0
68 | Mobilization, Per ALDOT Specification 600-A | 1 | LS |  | 0
69 | Traffic Control and Protection, (Complete in Place) | 1 | LS |  | 0
70 | Water Aid to Construction | 1 | LS | 518383 | 518383
71 | Electric Aid to Construction | 1 | LS | 230362 | 230362
72 | Borrow Excavation (Underwater Embankment), ALDOT Spec. 210 (Complete in Place includes labor and materials) | 5000 | CY |  | 0
73 | Unclassified Excavation, Per COH Specification 105 (To be hauled off-site) | 5000 | CY |  | 0
| TOTAL BASE BID |  |  |  | 0
Option No. 1 (SANITARY SEWER INFRASTRUCTURE)
1-1 | Sanitary Sewer Manhole, 5' to 12' Depth, Materials, Construction & Testing per COH sewer specification 646, payment by COH 623 (Complete in Place, Includes Excavation, Backfill Requirements, Labor and Materials) | 21 | EA |  | 0
1-2 | 8" D.I.P. Sanitary Sewer Pipe, Materials, Construction & Testing per COH sewer specification 645, payment by COH 647 (Complete in Place, Includes Excavation, Backfill Requirements, Labor and Materials) | 2664 | LF |  | 0
1-3 | Tie to Existing Sanitary Sewer Manhole, Per COH Specification, (Complete in Place, Includes Excavation, Backfill Requirements, Labor and Materials) | 1 | EA |  | 0
1-4 | 4" PVC Sanitary Sewer Lateral, Per COH Specification, (Complete in Place, Includes Excavation, Backfill Requirements, Labor and Materials) | 82 | LF |  | 0
| TOTAL Option No. 1 |  |  |  | 0
Option No. 2 (PRIVATE PROPERTY CONCRETE BOX CULVERT INFRASTRUCTURE)
2-1 | Reinforced Concrete Box Culvert Opening Double 12 x 4 , Per COH Specification 523 (Complete in Place, Includes Labor, Materials, Excavation, earth backfill and gravel backfill) | 472 | LF |  | 0
2-2 | Tie to Existing Sanitary Sewer Manhole, Per COH Specification, (Complete in Place, Includes Excavation, Backfill Requirements, Labor and Materials) | 1 | EA |  | 0
2-3 | 8" Ductile Iron Sanitary Sewer Lateral, Per COH Specification, (Complete in Place, Includes Excavation, Backfill Requirements, Labor and Materials) | 82 | LF |  | 0
2-4 | Sanitary Sewer Manhole, 5' to 12' Depth, Materials, Construction and Testing per COH sewer specification 646, payment by COH 23 (complete in place, includes excavation, backfill requirements, labor and materials) | 1 | EA |  | 0
| TOTAL Option No. 2 |  |  |  | 0
ALL ITEMS SHALL BE CONSIDERED IN-PLACE. PRICES SHALL INCLUDE ALL LABOR, EQUIPMENT,MATERIALS, AND REMOVALS AS REQUIRED FOR CONSTRUCTION OF THE REQUIRED WORK.
COMPANY__________________________ SIGNATURE_________________________ DATE______________________________