## BASE BID
| ATTACHMENT "A1" |  |  |  | 2026-02-24
CLINTON AVENUE SURFACE PARKING LOT PROJECT
Project No. 71-26-SP19
UNIT BID SHEET
ITEM NO. | DESCRIPTION | BID QTY | BID UNIT | BID UNIT PRICE | BID AMOUNT
GENERAL
1 | Mobilization | 1 | LS |  | 0
2 | Geometric Layout | 1 | LS |  | 0
3 | Huntsville Utilities Allowance (As Directed by the Engineer) | 1 | LS | 75000 | 75000
DEMOLITION
4 | Security Fence Removal and Disposal | 1100 | LF |  | 0
5 | Remove Full Depth Asphalt Pavement | 2400 | SY |  | 0
6 | Remove Concrete Sidewalk | 1600 | SY |  | 0
7 | Sawcut And Remove Curb And Gutter | 2750 | LF |  | 0
8 | Reset Water Meter | 1 | EA |  | 0
9 | Remove Curb Inlet | 1 | EA |  | 0
10 | Remove Double Wing "S" Type Inlet | 2 | EA |  | 0
11 | Remove Single Wing "S" Type Inlet | 1 | EA |  | 0
12 | Remove Grate Inlet | 2 | EA |  | 0
13 | Remove Junction Box | 2 | EA |  | 0
14 | Remove Storm Pipe 15" RCP | 360 | LF |  | 0
15 | Remove Sanitary Sewer Pipe, 12" | 400 | LF |  | 0
16 | Remove Sanitary Sewer Manhole | 1 | EA |  | 0
17 | Reset Junction Box to Grade | 1 | EA |  | 0
18 | Remove and Replace Single Wing "S" Inlet Top | 1 | EA |  | 0
19 | Convert Existing Junction Box to Traffic Rated Grate Inlet | 1 | EA |  | 0
20 | Remove Light Pole and Foundation | 2 | EA |  | 0
21 | Remove Sign | 1 | EA |  | 0
22 | Remove Gravel Surfacing (Measure 15CYs/Triaxle Load) | 2700 | CY |  | 0
EROSION CONTROL
23 | Silt Fence to be installed, maintained and removed by contractor | 515 | LF |  | 0
24 | Temporary Inlet Protection to be installed, maintained and removed by contractor | 21 | EA |  | 0
25 | Mulching | 1 | AC |  | 0
26 | Temporary Seeding | 1 | AC |  | 0
27 | Construction Exit Pad | 2 | EA |  | 0
ROADWAY
28 | Pavement Milling Asphalt, 1" - 1.5" Depth | 1700 | SY |  | 0
29 | Unclassified Excavation (Measure 15CYs/Triaxle Load) | 4927 | CY |  | 0
30 | Borrow Excavation (Measure 15CYs/Triaxle Load) | 7500 | CY |  | 0
31 | Dense Graded Base ALDOT 301 825 Plant Mixed, 6" Compacted Thickness | 14000 | SY |  | 0
32 | Asphalt Wearing Surface, ALDOT 424 Max Agg Size 1/2" ESAL A/B 165 lbs/sy | 1400 | TN |  | 0
33 | Asphalt Upper Binder Layer ALDOT 424, 220lbs/sy Max Aggr Size 1" ESAL C/D | 1625 | TN |  | 0
34 | Tack ALDOT 405 (.07gal/SY) | 1000 | GAL |  | 0
35 | Portland Cement Concrete Paving, 6", fiber reinforced to include all joints, Sealant and 6" Layer of ALDOT 825 B Compacted Crushed Stone Base | 600 | SY |  | 0
36 | 30" Concrete Curb & Gutter | 350 | LF |  | 0
37 | 24" Concrete Curb & Gutter | 2500 | LF |  | 0
38 | Transition Curb & Gutter 30" to 24" | 30 | LF |  | 0
39 | Retaining Wall, Varying Height | 210 | LF |  | 0
40 | 4" Concrete Sidewalk Paving - Medium Broom Finish to include excavation, all joints, and 4" stone leveling layer | 600 | SY |  | 0
41 | 18" Class III RCP to include excavation, stone backfill, ties to structures CIP | 290 | LF |  | 0
42 | 24" Class III RCP to include excavation, stone backfill, ties to structures CIP | 80 | LF |  | 0
43 | Type S Inlet (Double Wing) to include excavation, stone backfill, ties to structures CIP | 3 | EA |  | 0
44 | Combination Inlet to include excavation, stone backfill, ties to structures CIP | 4 | EA |  | 0
45 | Grate Inlet to include excavation, stone backfill, ties to structures CIP | 2 | EA |  | 0
46 | Junction Box to include excavation, stone backfill, ties to structures CIP | 2 | EA |  | 0
47 | Wheel Stops | 46 | EA |  | 0
48 | Class 2 Type A Thermoplastic Pavement Markings And Legends | 1100 | SF |  | 0
49 | Class 1, Type B Parking Striping 4" | 9000 | LF |  | 0
50 | Handicap Parking Signs and Sign Posts CIP | 7 | EA |  | 0
51 | Handicap Van Parking Signs and Sign Posts CIP | 4 | EA |  | 0
52 | Stop Signs and Sign Posts CIP | 18 | EA |  | 0
53 | Bollards | 10 | EA |  | 0
54 | Speed Limit Sign and Sign Post (Huntsville Traffic Engineering Latest Specifications) | 1 | EA |  | 0
55 | Truncated Dome for Handicap Ramps | 74 | SF |  | 0
56 | Handicap Ramp Cheek wall 6" Width Height Varies from 0" - 12" | 120 | LF |  | 0
UTILITIES
57 | Fire Hydrant Assembly to include excavation, stone backfill, fittings, thrust block concrete chlorination and testing CIP | 1 | EA |  | 0
58 | Site Lighting & Electrical to include Meter Base, Panel, Electrical Contactor and the Base Bid Portion of the Project, Complete in Place | 1 | LS |  | 0
LANDSCAPING AND IRRIGATION
59 | 5' Ameristar Montage Fencing | 222 | LF |  | 0
60 | Tifton Bermudagrass Sod to include soil prep, fertilization, liming | 2000 | SY |  | 0
61 | Irrigation for the Base Bid Portion of the Project | 1 | LS |  | 0
62 | Plantings for the Base Bid Portion of the Project | 1 | LS |  | 0
63 | Planting Zone Excavation, 24" Depth to include removal and haul off | 500 | CY |  | 0
64 | Topsoil for Planting Areas, to include soil testing and amendments | 500 | CY |  | 0
65 | Mulch, placed at a settled thickness of 3" | 200 | CY |  | 0
66 | Plantings Continued Maintenance for 6-Month Period beginning at Substantial completion | 1 | LS |  | 0
67 | Concrete Flume | 9 | SY |  | 0
| TOTAL BASE BID |  |  |  | 75000
Option No. 1
GENERAL
1-1 | Mobilization | 1 | LS |  | 0
1-2 | Geometric Layout | 1 | LS |  | 0
DEMOLITION
1-3 | Remove Full Depth Asphalt Pavement | 1600 | SY |  | 0
1-4 | Remove Curb Inlet | 1 | EA |  | 0
1-5 | Remove Double Wing "S" Type Inlet | 2 | EA |  | 0
1-6 | Remove Single Wing "S" Type Inlet | 1 | EA |  | 0
1-7 | Remove Grate Inlet | 2 | EA |  | 0
1-8 | Remove Junction Box | 2 | EA |  | 0
1-9 | Remove Storm Pipe 18" RCP | 275 | LF |  | 0
1-10 | Remove Sanitary Sewer Pipe, 8" | 250 | LF |  | 0
1-11 | Remove Sanitary Sewer Pipe, 12" | 190 | LF |  | 0
1-12 | Remove Sanitary Sewer Manhole | 2 | EA |  | 0
EROSION CONTROL
1-13 | Temporary Sediment Basins | 2 | EA |  | 0
1-14 | Silt Fence to be installed, maintained and removed by contractor | 400 | LF |  | 0
1-15 | Temporary Inlet Protection to be installed, maintained and removed by contractor | 12 | EA |  | 0
1-16 | ALDOT Misc. Graded Crushed Aggregate As Directed by Engineer | 75 | TN |  | 0
1-17 | Mulching | 1 | AC |  | 0
1-18 | Temporary Seeding | 1 | AC |  | 0
1-19 | Construction Exit Pad | 2 | EA |  | 0
ROADWAY
1-20 | Undercut Excavation and Haul off from Site (Measured 15Cys/Triaxle Load) | 1500 | CY |  | 0
1-21 | Borrow Excavation (Measure 15CYs/Triaxle Load) | 21000 | CY |  | 0
1-22 | Dense Graded Base ALDOT 301 825 Plant Mixed, 6" Compacted Thickness | 12000 | SY |  | 0
1-23 | Asphalt Wearing Surface, ALDOT 424 Max Agg Size 1/2" ESAL A/B 165 lbs/sy | 1100 | TN |  | 0
1-24 | Asphalt Upper Binder Layer ALDOT 424, 220lbs/sy Max Aggr Size 1" ESAL C/D | 1400 | TN |  | 0
1-25 | Tack ALDOT 405 (.07gal/SY) | 900 | GAL |  | 0
1-26 | 30" Concrete Curb & Gutter | 120 | LF |  | 0
1-27 | 24" Concrete Curb & Gutter | 2600 | LF |  | 0
1-28 | Transition Curb & Gutter 30" to 24" | 18 | LF |  | 0
1-29 | 18" Class III RCP to include excavation, stone backfill, ties to structures CIP | 310 | LF |  | 0
1-30 | 24" Class III RCP to include excavation, stone backfill, ties to structures CIP | 320 | LF |  | 0
1-31 | Type S Inlet (Double Wing) to include excavation, stone backfill, ties to structures CIP | 1 | EA |  | 0
1-32 | Combination Inlet to include excavation, stone backfill, ties to structures CIP | 2 | EA |  | 0
1-33 | Grate Inlet to include excavation, stone backfill, ties to structures CIP | 2 | EA |  | 0
1-34 | Junction Box to include excavation, stone backfill, ties to structures CIP | 2 | EA |  | 0
1-35 | Wheel Stops | 29 | EA |  | 0
1-36 | Class 2 Type A Thermoplastic Pavement Markings And Legends | 900 | SF |  | 0
1-37 | Class 1, Type B Parking Striping 4" | 8500 | LF |  | 0
1-38 | Handicap Parking Signs | 4 | EA |  | 0
1-39 | Stop Signs | 10 | EA |  | 0
1-40 | Truncated Dome for Handicap Ramps | 74 | SF |  | 0
1-41 | Handicap Ramp Cheek wall 6" Width Height Varies from 0" - 12" | 80 | LF |  | 0
UTILITIES
1-42 | Site Lighting & Electrical for Option 1 Portion of the Project, Complete in Place | 1 | LS |  | 0
LANSCAPING AND IRRIGATION
1-43 | Irrigation for Option 1 Portion of the Project | 1 | LS |  | 0
1-44 | Plantings For Option 1 Portion of the Project | 1 | LS |  | 0
1-45 | Planting Zone Excavation, 24" Depth to include removal and haul off | 300 | CY |  | 0
1-46 | Topsoil for Planting Areas, to include soil testing and amendments | 485 | CY |  | 0
1-47 | Mulch, placed at a settled thickness of 3" | 100 | CY |  | 0
| TOTAL Option No. 1 |  |  |  | 0
ALL ITEMS SHALL BE CONSIDERED IN-PLACE. PRICES SHALL INCLUDE ALL LABOR, EQUIPMENT,MATERIALS, AND REMOVALS AS REQUIRED FOR CONSTRUCTION OF THE REQUIRED WORK.
COMPANY__________________________ SIGNATURE_________________________ DATE______________________________