## BASE BID
| ATTACHMENT "A1" |  |  |  | 2026-04-08
Public Improvements County Line Road & Old Highway 20
Project No. 71-26-SP21
UNIT BID SHEET
ITEM NO. | DESCRIPTION | BID QTY | BID UNIT | BID UNIT PRICE | BID AMOUNT
1 | Mobilization | 1 | LS |  | 0
2 | Engineering Controls | 1 | LS |  | 0
3 | Traffic Control Devices and Schemes to include but not limited to: Chevron Traffic Boards, Programable Message Boards, Traffic Drums, Cones and Flagman as required for Temporary Traffic Handing Throughout Construction | 1 | LS |  | 0
4 | Silt Fence, install, maintain and remove | 3300 | LF |  | 0
5 | Temporary Stream Diversion | 1 | LS |  | 0
6 | Inlet Protection (wattles) | 975 | LF |  | 0
7 | Loose Riprap, Class 1 | 11 | TON |  | 0
8 | Sediment removal and disposal | 15 | CY |  | 0
9 | Full Depth Pavement Removal to include asphalt, base stone and disposal | 162 | SY |  | 0
10 | Pavement Base Failure Repair to Match Existing Pavement Section | 2500 | SY |  | 0
11 | Concrete Curb and Gutter Removal to include haul-off and disposal | 1115 | LF |  | 0
12 | Asphalt Pavement Milling (1" - 2" depth) haul-off and disposal | 14365 | SY |  | 0
13 | Removal of "S-Type" Inlet Box Top, removal and disposal | 4 | EA |  | 0
14 | Removal of Flexible Delineators | 12 | EA |  | 0
15 | Unclassified Excavation | 5114 | CY |  | 0
16 | Offsite Borrow Excavation (measured as 15 CYS per Triaxle Load) compacted in place | 20000 | CY |  | 0
17 | 4" Thick Concrete Sidewalk to include crushed stone leveling course and all Joints | 3200 | SY |  | 0
18 | 4" Thick Concrete Handicap Ramp to include crushed stone leveling course and all joints | 150 | SY |  | 0
19 | 6" Wide Concrete Cheek Wall for H/C Ramp (0" - 12" Varying Height) | 400 | LF |  | 0
20 | Concrete Slope Paving | 10 | CY |  | 0
21 | Handicap Ramp Detectable Warning Mats / Pavers, Sunset Red Color (Does Not Include Concrete) | 200 | SF |  | 0
22 | 24" Concrete Curb and Gutter to include 6" Thick Compacted DGB Course and all Joints | 4300 | LF |  | 0
23 | 30" Concrete Curb and Gutter to include 6" Thick Compacted DGB Course and all Joints | 900 | LF |  | 0
24 | Concrete Stand-up Curb to include all Joints | 300 | LF |  | 0
25 | Single Wing "S-Type" Inlet to include excavation and crushed stone backfill | 29 | EA |  | 0
26 | Double Wing "S-Type" Inlet to include excavation and crushed stone backfill | 6 | EA |  | 0
27 | Sewer Inlet Type B Inlet Top Constructed On Existing Storm Structure | 4 | EA |  | 0
28 | Open Grate Inlet Box See Detail Sheet C3.6 | 4 | EA |  | 0
29 | Stormwater Connection to Culvert (24" RCP) to include excavation and crushed stone backfill | 2 | EA |  | 0
30 | ALDOT Graded Crushed Aggragte for Misc Use (As Directed by the Engineer) | 100 | TN |  | 0
31 | Culvert Steel Reinforcement (Measured and Paid for Based on Detail Quantities) | 23292 | LB |  | 0
32 | Culvert Concrete, (Measured and Paid for Based on Detail Quantities) | 138 | CY |  | 0
33 | 15" RCP Class III Pipe to include excavation and crushed stone backfill | 306 | LF |  | 0
34 | 18" RCP Class III Pipe to include excavation and crushed stone backfill | 1446 | LF |  | 0
35 | 24" RCP Class III Pipe to include excavation and crushed stone backfill | 441 | LF |  | 0
36 | 24" Rip-Rap Slope Headwall Beveled Pipe End Type IV | 1 | EA |  | 0
37 | Crushed Aggregate Base Course, Type B, Plant Mixed, 10" Compacted Thick | 12000 | SY |  | 0
38 | 1.5" Overlay ALDOT 424A-360 Max Aggregate 1/2", ESAL Range A/B | 1200 | Ton |  | 0
39 | Tack Coat ALDOT 405 A | 1145 | Gal |  | 0
40 | Superpave Bituminous Concrete Wearing Surface Layer, 1/2" Maximum Aggregate Size Mix, ESAL Range A/B | 1100 | Ton |  | 0
41 | Superpave Bituminous Concrete Upper Binder Layer, 3/4" Maximum Aggregate Size Mix, ESAL Range A/B | 1600 | Ton |  | 0
42 | Class 2, Type A Reflective Thermoplastic Pavement Markings and Legends | 3000 | SF |  | 0
43 | Class 2, Type A Reflective Thermoplastic 5" Pavement Striping | 3 | Mile |  | 0
44 | 4" Wide Temporary Striping All Colors | 7483 | LF |  | 0
45 | Permanent Traffic Signage to include sign posts materials and installation to be in accordance with COH Traffic Engineering Latest Specification | 1 | LS |  | 0
46 | Reflective Pavement Markers | 238 | EA |  | 0
47 | 2" Schedule 40 PVC Streetlight Conduit to include trench excavation, stone backfill, marking tape, and 500 lbs pull string | 2330 | LF |  | 0
48 | 3" Schedule 40 PVC Electrical Conduit to include trench excavation, stone backfill, marking tape, and 500 lbs pull string | 20 | LF |  | 0
49 | 4" Schedule 40 PVC Electrical Conduit to include trench excavation, stone backfill, marking tape, and 500 lbs pull string | 3460 | LF |  | 0
50 | 6" Schedule 40 PVC Electrical Conduit to include trench excavation, stone backfill, marking tape, and 500 lbs pull string | 1700 | LF |  | 0
51 | 4" Galvanized Elbows | 25 | EA |  | 0
52 | 6" Galvanized Elbows | 9 | EA |  | 0
53 | 2" PVC Elbows | 32 | EA |  | 0
54 | 3" PVC Elbows | 2 | EA |  | 0
55 | Stone Aggregate Backfill for Electrical Boxes and Equipment | 1 | LS |  | 0
56 | Installation of AED provided Sectional Cabinets and Ground Sleeves | 16 | EA |  | 0
57 | Installation of AED provided Fiberglass Transformer Pad | 1 | EA |  | 0
58 | Installation of AED provided Quazite Flush Mount Street Light Boxes | 13 | EA |  | 0
59 | Concrete Encasement for 6" Galvanized Elbows (4 locations approximately 1 cy each) | 1 | LS |  | 0
60 | Utility Conflict Concrete as Directed by the Engineer | 25 | CY |  | 0
61 | 8 inch D.I. Sanitary Sewer Gravity Pipe to include excavation and crushed stone backfill, Complete in Place to include City of Huntsville WPC testing requirements | 825 | LF |  | 0
62 | 10 inch D.I. Sanitary Sewer Gravity Pipe to include excavation and crushed stone backfill, Complete in Place to include City of Huntsville WPC testing requirements | 2315 | LF |  | 0
63 | 10 inch D.I. Sanitary Sewer Gravity Pipe Laid (Creek Crossing) to include excavation and crushed stone backfill, Complete in Place to include City of Huntsville WPC testing requirements | 50 | LF |  | 0
64 | 48 inch Manhole to include excavation and crushed stone backfill, Complete in Place to include City of Huntsville WPC testing requirements | 18 | EA |  | 0
65 | Connection to Existing Manhole to include excavation and crushed stone backfill | 1 | EA |  | 0
66 | Sod, to include soil prep, fertilization, and liming | 12000 | SY |  | 0
67 | Permanent Seeding, to include soil prep, fertilization, and liming | 1 | AC |  | 0
68 | Topsoil Placement from Stockpiles | 2180 | CY |  | 0
69 | Traffic Signal Layout "A" Complete-in-Place | 1 | LS |  | 0
70 | Traffic Signal Layout "B" Underground Only, Complete-in-Palce | 1 | LS |  | 0
71 | Project Allowance for HU Coordination as Directed by the Engineer | 1 | LS | 200000 | 200000
| TOTAL BASE BID |  |  |  | 200000
OPTION No. 1 WATER INFRASTRUCTURE
1-1 | Water Valve and Fire Hydrant Relocation Complete in Place | 1 | EA |  | 0
1-2 | 10" D.I. M.J. 45 Degree Elbow | 4 | EA |  | 0
1-3 | FIRE HYDRANT Assembly to inlcude excavation, stone backfill, Thrust Block Concrete, Chlorination and Testing | 4 | EA |  | 0
1-4 | 6" TYTON D.I. CLASS 350 PIPE | 40 | LF |  | 0
1-5 | 8" TYTON D.I. CLASS 350 PIPE | 440 | LF |  | 0
1-6 | 10" TYTON D.I. CLASS 350 PIPE | 2320 | LF |  | 0
1-7 | 8" M.J. PLUG | 5 | EA |  | 0
1-8 | 10" M.J. PLUG | 1 | EA |  | 0
1-9 | TAP,SLEEVE,SS,12X10,13.10"-13.50" FOR CI | 2 | EA |  | 0
1-10 | 10"X6" M.J. D.I. SWIVEL TEE | 4 | EA |  | 0
1-11 | 10"X8" M.J. D.I. TEE | 5 | EA |  | 0
1-12 | 10"X10" M.J. D.I. TEE | 1 | EA |  | 0
1-13 | 3/4" BALL VALVE | 8 | EA |  | 0
1-14 | 6" M.J. GATE VALVE | 4 | EA |  | 0
1-15 | 8" M.J. GATE VALVE | 9 | EA |  | 0
1-16 | 10" M.J. GATE VALVE | 13 | EA |  | 0
1-17 | 10" FFXMJ TAP VALVE | 2 | EA |  | 0
1-18 | 24"X36" VALVE BOX, WITH LID | 26 | EA |  | 0
1-19 | Water Main Construction Incidentals and Items of work not listed | 1 | LS |  | 0
| TOTAL OPTION No. 1 Water Infrastructure |  |  |  | 0
ALL ITEMS SHALL BE CONSIDERED IN-PLACE. PRICES SHALL INCLUDE ALL LABOR, EQUIPMENT,MATERIALS, AND REMOVALS AS REQUIRED FOR CONSTRUCTION OF THE REQUIRED WORK.
COMPANY SIGNATURE DATE