## BASE BID
| ATTACHMENT "A" |  |  |  | 2026-10-28
Periodic Bid for Drainage Projects - 2027
Project No. 71-27-DR03
BASE BID
All prices include the removal and disposal, including hauling of soil and materials.
ALL referenced Drawings found in the City of Huntsville Engineering Standards for Construction of Public Improvements 1991
ITEM # | DESCRIPTION | BID QTY | BID UNIT | UNIT PRICE | BID AMOUNT
I. Mobilization
A. Contract Mobilization
1 | 3% of the toal cost of the work order adjusted for final quantities
B. Project Mobilization
2 | Project Mobilization A (will be paid on projects that have a cost less than $1,000.00) | 10 | EA |  | 0
3 | Project Mobilization B (will be paid on projects that have a cost > or equal to $1,000.00 but < than $5,000.00) | 10 | EA |  | 0
4 | Project Mobilization C (will be paid on projects that have a cost > or equal to $5,000.00 but < than $10,000.00) | 10 | EA |  | 0
5 | Project Mobilization D (will be paid on projects that have a cost > or equal to $10,000.00 but < than $25,000.00) | 10 | EA |  | 0
6 | Project Mobilization E (will be paid on projects that have a cost > or equal to $25,000.00 but < than $50,000.00) | 10 | EA |  | 0
7 | Project Mobilization F (will be paid on projects that have a cost > or equal to $50,000.00 but < than $75,000.00) | 5 | EA |  | 0
8 | Project Mobilization G (will be paid on projects that have a cost > or equal to $75,000.00 but < than $100,000.00) | 5 | EA |  | 0
9 | Project Mobilization H (will be paid on projects that have a cost > than $100,000.00 but < than $200,000.00) | 2 | EA |  | 0
II. Street Construction
C. Concrete
10 | New City Std. (24") Concrete Curb and Gutter | 200 | LF |  | 0
11 | New (24") Concrete Valley Curb | 100 | LF |  | 0
12 | 4" Thick Concrete for new sidewalk and/or traffic islands ( Less than 200 SY) | 200 | SY |  | 0
13 | 6" Thick Concrete for new sidewalk and/or traffic islands and/or driveways | 200 | SY |  | 0
14 | New 6" Thick Concrete Driveway Aprons | 80 | SY |  | 0
15 | New 4" Thick Concrete Driveway with 6X6W 2.9 reinforcing wire mesh | 80 | SY |  | 0
D. Removal/Replacement & Milling
16 | Removal of Concrete Curb and Gutter or Valley Gutter (Includes Disposal of Spoils) | 500 | LF |  | 0
17 | Removal of Driveway Aprons | 80 | SY |  | 0
18 | Removal of concrete sidewalk and concrete driveways (Includes Disposal of Spoils) | 200 | SY-IN |  | 0
19 | Removal and Replacement of Single Wing "S" Type Inlet, Top Only, (COH Standard Drawing Nos. DR-120A, DR-120B, and DR-120C; Includes Disposal of Spoils) | 10 | EA |  | 0
20 | Removal and Replacement of Double Wing "S" Type Inlet, Top Only, (COH Standard Drawing Nos. DR-120A, DR-120B, and DR-120C; Includes Disposal of Spoils) | 5 | EA |  | 0
21 | Removal of asphalt paving, other than by milling, per sq.yd./in. of thickness (Includes Disposal of Spoils) | 10000 | SY-IN |  | 0
22 | Milling of Existing Asphalt Pavement (per square yard / inch of depth) | 10000 | SY-IN |  | 0
E. Base, Binder & Wearing
23 | Plant Mix Bituminous Base for Street Repair (trenches and patching) per ton in place in accordance with Section 327 per Standard Specifications, ALDOT | 500 | TONS |  | 0
24 | Dense Graded Base, placed in accordance with Section 301 of the Standard Specifications, ALDOT. All materials shall be in accordance with Section 825, Type B, 100% compaction. Bid to include excavation. | 500 | TONS |  | 0
25 | Dense Graded Base Material - placed and compacted along roadway shoulder. Price includes delivery of material to job site, dumping, spreading, and compacting (delivery tickets required). Traffic Control not included under this item. | 250 | TONS |  | 0
26 | 424-A Superpave Bituminous Concrete Wearing Surface Layer - 3/8" Maximum Aggregate Size Mix ESAL Range C/D (Asphalt Spreader Equipment) | 500 | TONS |  | 0
27 | 424-B Superpave Bituminous Concrete Binder Upper Layer - 1 " Maximum Aggregate Size Mix, ESAL Range C/D (Asphalt Spreader Equipment) | 500 | TONS |  | 0
F. Miscellaneous
28 | Graded limestone rock for stabilization of roadway, subgrade. Price includes delivery of material to job site, dumping, spreading, and compacting. (delivery tickets) | 1000 | TONS |  | 0
29 | Manhole Risers | 5 | EA |  | 0
III. DRAINAGE CONSTRUCTION
G. Excavation Per Section 105 COH Standards
30 | Channel Excavation (measured in its original position, computed by average end area) | 250 | CY |  | 0
31 | Solid Rock Excavation (trench and channel rock; Includes Disposal of Spoils) | 50 | CY |  | 0
32 | Unclassified Excavation (includes removal and disposal from job site and/or reusing material at job site as backfill, fill, or topsoil, placed and compacted as directed). | 5000 | CY |  | 0
H. Stone & Rip Rap Construction
33 | Stone obtained from jobsite and placed on project(ditch side slopes and/or in ditch bottom) 12" thick minimum | 50 | SY |  | 0
34 | Class 1 Rip Rap (Less than 200 Tons) | 250 | TONS |  | 0
35 | Class 1 Rip Rap (200 Tons or More) | 500 | TONS |  | 0
36 | Class 2 Rip Rap (Less than 200 Tons) | 1000 | TONS |  | 0
37 | Class 2 Rip Rap (200 Tons or More) | 500 | TONS |  | 0
38 | Stone Riprap(grouted in place) Type II Placement, Type II Finish - Class 1 Riprap, 12" thick min. (Less than 200 Tons) | 100 | TONS |  | 0
39 | Stone Riprap(grouted in place) Type II Placement, Type II Finish - Class 1 Riprap, 12" thick min. (200 Tons or More) | 500 | TONS |  | 0
40 | Stone Riprap(grouted in place) Type II Placement, Type II Finish - Class 2 Riprap (Less than 200 Tons) | 500 | TONS |  | 0
41 | Stone Riprap(grouted in place) Type II Placement, Type II Finish - Class 2 Riprap (200 Tons or More) | 500 | TONS |  | 0
42 | Filter Fabric Blanket, Section 610 of ALDOT Specs | 100 | SY |  | 0
43 | Miscellaneous stone backfill(any size), in place measurement | 200 | CY |  | 0
I. Miscellaneous Concrete and Reinforcing Steel
44 | Unreinforced Concrete (includes forming, pouring, finishing, complete-in-place) | 50 | CY |  | 0
45 | Reinforced Concrete (includes forming, pouring, finishing, steel reinforcement, complete-in-place). | 50 | CY |  | 0
46 | Concrete Flume (City of Huntsville Standard Drawing No. DR-161) *Price per square yard of surface area includes all reinforcement, joints, and miscellaneous items shown in the detail drawing. | 500 | SY |  | 0
J. New Reinforced Concrete Pipe(complete in place)
includes excavation, 6" stone bedding, stone backfill, disposoal of spoils, soil from excavation, backfill and compaction
47 | 15" Class III R.C. Pipe, 0' - 8' depth | 800 | LF |  | 0
48 | 15" Class III R.C. Pipe, 0' - 8' depth (Labor Only-COH will purchase pipe; Contractor responsible for coordinating delivery of the pipe, unloading, and providing all equipment and labor for installation) | 200 | LF |  | 0
49 | 18" Class III R.C. Pipe, 0' - 8' depth | 800 | LF |  | 0
50 | 18" Class III R.C. Pipe, 0' - 8' depth (Labor Only-COH will purchase pipe; Contractor responsible for coordinating delivery of the pipe, unloading, and providing all equipment and labor for installation) | 200 | LF |  | 0
51 | 24" Class III R.C. Pipe, 0' - 8' depth | 480 | LF |  | 0
52 | 24" Class III R.C. Pipe, 0' - 8' depth (Labor Only-COH will purchase pipe; Contractor responsible for coordinating delivery of the pipe, unloading, and providing all equipment and labor for installation) | 200 | LF |  | 0
53 | 30" Class III R.C. Pipe, 0' - 8' depth | 400 | LF |  | 0
54 | 30" Class III R.C. Pipe, 0' - 8' depth (Labor Only-COH will purchase pipe; Contractor responsible for coordinating delivery of the pipe, unloading, and providing all equipment and labor for installation) | 100 | LF |  | 0
55 | 11" X 18" Class III R.C. Arch Pipe, 0' - 8' depth | 60 | LF |  | 0
56 | 13" x 22" Class III R.C. Arch Pipe, 0' - 8' depth | 60 | LF |  | 0
57 | 18" x 29" Class III R.C. Arch Pipe, 0' - 8' depth | 60 | LF |  | 0
58 | 22-1/2" x 36-1/4" Class III R.C. Arch Pipe, 0' - 8' depth | 60 | LF |  | 0
K. New "Plastic" Pipe(complete in place)
includes excavation, stone bedding, stone backfill, and disposoal of spoils. Conforming to ASTM F2736, ASTM F2764, ASTM F2306, ASTM F667
59 | HDPP 12" Pipe, 0-8' deep | 50 | LF |  | 0
60 | HDPP 15" Pipe, 0-8' deep | 50 | LF |  | 0
61 | HDPP 18" Pipe, 0-8' deep | 250 | LF |  | 0
62 | HDPP 24" Pipe, 0-8' deep | 250 | LF |  | 0
63 | HDPP 30" Pipe, 0-8' deep | 100 | LF |  | 0
64 | HDPE 12" Pipe, 0-8' deep | 25 | LF |  | 0
65 | HDPE 15" Pipe, 0-8' deep | 25 | LF |  | 0
66 | HDPE 18" Pipe, 0-8' deep | 250 | LF |  | 0
67 | HDPE 24" Pipe, 0-8' deep | 250 | LF |  | 0
68 | HDPE 30" Pipe, 0-8' deep | 100 | LF |  | 0
69 | 4" Corrugated Polyethylene Solid Pipe, 0'-5' deep | 200 | LF |  | 0
70 | 6" Corrugated Polyethylene Solid Pipe, 0'-5' deep | 200 | LF |  | 0
71 | 4" Corrugated Polyethylene Slotted Pipe w/sock, 0'-5' deep | 200 | LF |  | 0
72 | 6" Corrugated Polyethylene Slotted Pipe w/sock, 0'-5' deep | 200 | LF |  | 0
L. New Precast Flared Pipe End Sections (Type I) - Includes excavation, disposal of spoils, 6" stone bedding, soil from excavation, backfill and compaction
73 | 15" Flared End Section | 3 | EA |  | 0
74 | 18" Flared End Section | 3 | EA |  | 0
75 | 24" Flared End Section | 3 | EA |  | 0
76 | 30" Flared End Section | 3 | EA |  | 0
M. Construction of Drainage Inlets, Junction Boxes, Tie ins, Headwalls, Slope Paving
Drawing Nos.: DR105A,DR-105B,DR-110A, DR-110B, DR-120A, DR-120B, DR120C,DR-125A, DR-125B,125-C, 125-D,126-A, 126-B, 126-C, DR-126D, DR-127A, DR-127B, DR-127C, DR-140A, DR-140B, DR-141A,DR-141B, DR-150A, DR-150BDR-152A, DR-152B, DR-152C, DR-153A, DR-153B, DR-153C, DR-153D
77 | Single "S" Type, Standard Size, 4'-0" x 4'-6" Box and 8'-6" wing, (0'-6' depth) | 10 | EA |  | 0
78 | Double "S" Type , Standard Size, 4'-0" x 4'-6" Box and 8'-6" wing, (0'-6' depth) | 4 | EA |  | 0
79 | Single Curb Inlet, Standard Size, (0'-6' depth) | 4 | EA |  | 0
80 | Double Curb Inlet, Standard Size, (0'-6' depth) | 2 | EA |  | 0
81 | Open Throat Inlet, Standard Size, (0'-6' depth) | 25 | EA |  | 0
82 | Open Grate Inlet, Traffic Type, Standard Size, (3'-6" x 3'-6" Box, 0'- 6' depth) | 4 | EA |  | 0
83 | Open Grate Inlet, Non-Traffic Type, Standard Size, (3'-6" x 3'-6" Box, 0'- 6' depth) | 4 | EA |  | 0
84 | Open Grate Inlet, Traffic Type, Standard Size (6' x 5' Box, 0-6' deep) | 2 | EA |  | 0
85 | Open Grate Inlet, Non -Traffic Type, Standard Size (6' x 5' Box, 0-6' deep) | 2 | EA |  | 0
86 | Junction Box, Traffic Type, Standard Size (3'-6" x 3'-6" Box, 0'-6' depth) | 2 | EA |  | 0
87 | Junction Box, Traffic Type, Standard Size (6'-0" x 5'-0" Box, 0'-6' deep) | 2 | EA |  | 0
88 | Junction Box, Non-Traffic Type, Standard Size (3'-6" x 3'-6" Box, 0'-6' depth) | 2 | EA |  | 0
89 | Junction Box, Non-Traffic Type, Standard Size (6'-0" x 5'-0" Box, 0'-6' deep) | 2 | EA |  | 0
90 | Tie ins - pipe to existing drainage structure | 15 | EA |  | 0
91 | Concrete Headwall - 12" or 15" pipe | 5 | EA |  | 0
92 | Concrete Headwall -18" pipe | 5 | EA |  | 0
93 | Concrete Headwall -24" pipe | 5 | EA |  | 0
94 | Concrete Headwall -30" pipe | 5 | EA |  | 0
95 | Slope Paved Headwalls for pipe(price per SY of exposed surface) | 50 | SY |  | 0
96 | 24" or smaller, HDPE, square yard inlet and drain basin, complete in place, include excavation, stone backfill and removal of spoils | 10 | EA |  | 0
N. TRENCH DRAIN CHANNELS AND GRATES
97 | Trench Grate with sloped channel includes forming, concrete, and all materials, complete in place (see attachment P) | 30 | LF |  | 0
98 | Trench Grate with Flat channel including 12" wide (traffic) gray iron (class 30) slotted grate includes forming, concrete, and all materials, complete in place (see attachment O) | 30 | LF |  | 0
99 | Tie Ins - channels to existing drainage structure (pipe or box) | 5 | EA |  | 0
100 | Heavy Duty Vane Type Grate Inlet including frame (Neenah R-4999-L3, or equal) | 20 | LF |  | 0
101 | Concrete Trench for Heavy Duty Vane Type Grate, 12" trench width, depth 12" - 18". Construction and installation per manufacturer's recommendations | 20 | LF |  | 0
IV. TRAFFIC CONTROL
102 | Drums | 100 | EA |  | 0
103 | Type I Barricades | 10 | EA |  | 0
104 | Type II Barricades | 10 | EA |  | 0
105 | Type III Barricades | 10 | EA |  | 0
106 | 28" Cones | 15 | EA |  | 0
107 | 36" Cones | 15 | EA |  | 0
108 | Arrow Panels | 5 | EA |  | 0
109 | Road Signs per ALDOT 740B to include posts installed | 500 | SF |  | 0
110 | Flagman | 200 | HR |  | 0
111 | 5" Wide Solid White, Class 2, Type A Traffic Stripe (0.06" Thick), Complete In-Place PER C.O.H. SPECIFICATION #701 | 1500 | LF |  | 0
112 | 5" Wide Broken White, Class 2, Type A Traffic Stripe (0.06" Thick), Complete In-Place PER C.O.H. SPECIFICATION #701 | 1500 | LF |  | 0
113 | 5" Wide Solid Yellow, Class 2, Type A Traffic Stripe (0.09" Thick), Complete In-Place PER C.O.H. SPECIFICATION #701 | 1500 | LF |  | 0
114 | 5" Wide Broken Yellow, Class 2, Type A Traffic Stripe (0.09" Thick), Complete In-Place PER C.O.H. SPECIFICATION #701 | 1500 | LF |  | 0
115 | 5" Wide Dotted Class 2, Type A Traffic Stripe, (0.09" Thick), Complete In-Place PER C.O.H. SPECIFICATION #701 | 750 | LF |  | 0
116 | Broken Temporary Traffic Stripe, Complete In-Place PER C.O.H. SPECIFICATION #701 | 1500 | LF |  | 0
117 | Solid Temporary Traffic Stripe, Complete In-Place PER C.O.H. SPECIFICATION #701 | 1500 | LF |  | 0
V. Landscape Construction
O. Fencing
118 | 4' High Residential Chain Link Fencing - Remove and replace with new | 800 | LF |  | 0
119 | 6' High Treated Wood Privacy Fence- Remove and replace with new | 500 | LF |  | 0
120 | 4' High Residential Chain Link Fencing - Remove and reset | 400 | LF |  | 0
121 | 6' High Treated Wood Privacy Fence - Remove and reset | 400 | LF |  | 0
122 | Vinyl,Composite, Aluminum, or Steel Fence(3'-6' high) - Remove and reset | 400 | LF |  | 0
123 | 4' High Residential Chain Link Fencing - Temporary(includes removal) | 200 | LF |  | 0
124 | Temporary - Orange construction fencing per ALDOT #647 | 1000 | LF |  | 0
125 | TYPE "A" Silt Fence per ALDOT Spec #665 (includes materials, installation, maintenance and removal) | 200 | LF |  | 0
P. Clearing, Tree Removal and Disposal - includes stump and root removal 6" below finished grade
126 | Light clearing - lawns, rights-of-ways, shrubs, grassy fields and pasture land, underbrush and trees 8" diameter or smaller | 5000 | SY |  | 0
127 | Tree removal, 8-12" diameter | 25 | EACH |  | 0
128 | Tree removal, 12"-24" diameter | 15 | EACH |  | 0
129 | Tree removal, over 24" diameter | 10 | EACH |  | 0
Q. Landscape Restoration
130 | Topsoil Cubic Yards (CY), Loose Truck Measurement | 750 | CY |  | 0
131 | Tifton Bermuda Sod (in-place) | 10000 | SY |  | 0
132 | Fescue Sod (in-place) | 10000 | SY |  | 0
133 | Seed, Straw, and Fertilize | 5000 | SY |  | 0
134 | Landscape Mulching(Dyed Hardwood Mulch and Pine Bark Mulch), 3" thick (in-place) | 200 | SY |  | 0
135 | Pine Straw, 3" thick (in-place) | 200 | SY |  | 0
136 | Tree planting labor (per tree) (COH provides trees) | 25 | EA |  | 0
R. Irrigation System
137 | Rain Bird ESP16LXM Controller with Stainless Style Pedestal with Concrete Base Complete in Place | 2 | EA |  | 0
138 | Rain Bird F4-PC, FC-SS Turf Rotor, 4.0" Pop-Up, Stainless Steel Riser, Adjustable and Full Circle. With Removable Seal-A-Matic Check Valve, 1" Female Threaded Inlet. (5004) | 75 | EA |  | 0
139 | Rain Bird XCZ-100-PRB-COM 1" Wide Flow Drip Control Kit for Commercial Applications. 1" Ball Valve with 1" PESB Valve and 1" Pressure Regulating 40psi Quick-Check Basket Filter. 0.3gpm to 20gpm. | 7 | EA |  | 0
140 | Rain Bird RWS-M-B-C-1401 Root Watering System Mini | 75 | EA |  | 0
141 | Netafim TLEZ-04-18 Techline EZ Pressure Compensating Landscape Dripline with Anti-Siphon Dripper. 0.4 GPH emitters at 18" O.C. Dripline laterals spaced at 18" apart, with emitters offset for triangular pattern. 12mm. | 750 | LF |  | 0
142 | Rain Bird Master Valve 2" PESB-PRSD with 12" Valve Box Complete in Place | 1 | EA |  | 0
143 | Irrigation Lateral Line: PVC Class 200 SDR 21 1 1/2" | 1000 | LF |  | 0
144 | Irrigation Mainline: PVC Class 40, 2" Complete in plaace to inlcude Crushed Stone Backfill | 200 | LF |  | 0
145 | Pipe Sleeve: CPVC Schedule 40, 4" Complete in place with Crushed Stone Backfill | 120 | LF |  | 0
146 | Rain Bird WR2 Wireless Raw Sensor | 3 | EA |  | 0
147 | 14-1 UF Direct Burial Red Sprinkler Control Wire | 100 | LF |  | 0
148 | 12-1 UF Direct Burial White Sprinkler Control Wire | 1000 | LF |  | 0
149 | 16-1 UF Direct Burial Blue Wire for Tracer | 1000 | LF |  | 0
150 | Rain Bird 1806 SAM-PRS-45 Sprinkler Head with Barb Fitting, Swing Pipe and PVC Tee for Laterial Connection | 50 | EA |  | 0
151 | Rain Bird 150 PESB Control Valve with PRS-D Regulator with 12" Box Complete In Place | 10 | EA |  | 0
152 | Rain Bird 1812 SAM-PRS-45 Sprinkler Head with Barb Fitting, Swing Pipe and PVC Tee for Laterial Connection | 25 | EA |  | 0
153 | Rain Bird 1806 SAM-PRS-45 Sprinkler Head with Barb Fitting, Swing Pipe and PVC Tee for Laterial Connection | 25 | EA |  | 0
154 | Hunter MP3000 90-210 Nozzles | 25 | EA |  | 0
| TOTAL BASE BID PRICE (for evaluation purposes only): |  |  |  | 0
Basis of payment will be determined by multiplying the measured in place quantities determined in the field by the contract bid unit prices.
SALES TAX ACCOUNTING: Pursuant to Act 2021-372, the Contractor accounts for the sales tax NOT included in the bid proposal form as follows:
| ESTIMATED SALES TAX AMOUNT |  |  |  | 0
Failure to provide an accounting of sales tax shall render the bid non-responsive. Other than determining responsiveness, sales tax accounting shall not affect the bid pricing nor be considered in the determination of the lowest responsible and responsive bidder.
ALL ITEMS SHALL BE CONSIDERED IN-PLACE. PRICES SHALL INCLUDE ALL LABOR, EQUIPMENT, MATERIALS, AND REMOVALS AS REQUIRED FOR CONSTRUCTION OF THE REQUIRED WORK.
COMPANY__________________________ SIGNATURE_________________________ DATE______________________________